U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#28 - 2011

# Project: McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: September 2 - 8, 2011

## Turbine Operation

McNary had 11 to 12 units available for power generation this week.  Units 1 and 10 remain out of service for the rewind contract which will be completed in approximately six months to one year.  On September 2, unit 4 returned to service from annual maintenance.  From September 6 to 10, unit 5 was out of service for annual maintenance.  Also, on September 6, turbine unit 6 was out of service for 20 minutes in support of ESBS camera inspections.  Finally, that day, from 2133 to 2306 hours, the operational units were removed from and returned to service from unit 2 through 14 in an attempt to move debris to the spillway.  From 2213 to 2320 hours, bays 20, 21 and 22 were open to 18 feet in an effort to spill the debris.  Unfortunately, there was a ten mph northeast wind that night which pinned the debris on the powerhouse resulting in very little debris being spilled.  The issues with the forebay debris will be further discussed below.

The hard constraint one percent criterion continues with no units running outside the criteria.

On September 7, the station service unit and air supply both tripped off line for ten minutes with no ill effect on fisheries operations.

## Adult Fish Passage Facilities

On September 4, 6 and 8, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish counts (including video review for lamprey), water temperature monitoring, and nightly lowering of Oregon entrance weirs, NFEW2, NFEW3, SFEW1 and SFEW2, in support of lamprey passage continue.

Fish Ladders:  Both ladders met all Fish Passage Plan criteria except on September 8 when the Oregon ladder count station differential measured 0.6 feet due to woody debris on the picketed leads.  The leads were immediately cleaned.  The increase in forebay debris since the end of the spill program on September 1 and a constant east/northeast wind due to the warm weather pattern has resulted in a large amount of woody debris being deposited around the Oregon ladder exit and along the south shoreline.  Measured differential readings revealed no problems with the traveling screens though one differential alarm occurred this week.  Normal operation resumed after the alarm was reset.

There were no problems observed at the Washington ladder exit.  However, an increase in Eurasian milfoil drifting into the area is a concern.

Fishway Entrances and Collection Channel:  On both ladders met all inspection points’ criteria.  Conclusion of the spill program may have contributed to these improved readings as turbulence and hydraulic gradients are no longer issues.  The Oregon ladder south powerhouse entrance weir, SFEW2, has a failed LED which has not yet been replaced.  Until then, the dial indicator on the weir cable drum will be used for measurements.  The technical staff continues to look into new programming for the Washington ladder entrances, W2 and W3.  Collection channel velocities averaged 1.5 feet per second.

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of approximately 30 degrees with no interruptions in service recorded.  Pump 2 remains out of service due to a major overhaul.  The estimated return to service date for pump 2 is January 31, 2012.

The juvenile facility continues to supply the usual 450 cfs to the north powerhouse pool.  Finally, the Wasco County PUD turbine unit ran with no interruptions in service.

#### Juvenile Fish Passage Facility

Collection for truck transport continued until September 8 at 1400 hours when primary bypass began due to heavy debris loads in the raceways and throughout the facility.  This action was implemented after regional discussion.  Non-bypassed fish in the flume and separator were evacuated to the raceway and sample tanks.  The evacuated fish will be loaded onto a truck on September 9.  The system will remain in primary bypass until the forebay debris can be removed.

Before September 8, due to these debris loads, the trucking frequency was increased from every other day to daily starting September 2.  During the week, seven to 32 trash cans of debris were removed from one raceway every 24 to 48 hours.  A normal high load of debris would have been six trash cans in 48 hours for one raceway.

On September 2, at 0511 hours, the system was in primary bypass mode for approximately six minutes due to a debris clog in the second set of PIT tag detectors in the A-side flume.  Twenty-one non-clipped sub-yearling Chinook were lost on the ground where the flume overflowed.  An alert biological technician prevented a more serious loss of fish.  There were concerns that continued collection could result in similar fish losses.

For the report week, 86,046 smolts were transported, and 194 juvenile lamprey were enumerated.  Fish numbers noticeably increased with the spill closure on September 1.

Forebay Debris/Gatewell Debris/Oil:  During the week, forebay debris remained heavy.  Incoming debris came down both shorelines.  A northeast wind shifted the debris to the south end of the powerhouse and the Oregon shore.  By the end of the week, the debris on the upstream face of the spillway had also moved to the south.  McNary personnel will borrow a boat from Lower Granite next week with the hope of removing the debris.

Trash rack differential monitoring revealed no significant problems and no racks were cleaned.  Repairs to the damaged trash rack hoist and cleaning device continued.

No problems were seen in the gatewell slots.  The slot at 1B remains dewatered.

ESBSs/VBSs:  ESBSs are deployed in all units except at 1A, 1B and 10B slots.  The screens in 3B and 13A slots remain in transducer bypass mode.  ESBS camera inspections at units 5 and 6 revealed no problems.  Turbine unit 5 was already out of service for annual maintenance.

VBS monitoring revealed nine screens out of criteria.  On September 2 6, 7 and 8, these screens and 27 others were cleaned.  This included the prototype screen in 4B slot which rarely requires cleaning.  Screens were cleaned at both ends of the powerhouse with the screens at the south end being cleaned repeatedly due to the forebay debris being located there.  Additional VBS cleanings are expected next week.  Unit 1 is missing 3 VBSs and unit 10 is missing one VBS.  Screen rehabilitation has accelerated.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Forty two orifices were utilized this week with no blockages observed.  However, on September 7, the rope for the ESBS at 7A slot had to be removed from an orifice inflow.  Since 1B slot dewatered, a make-up orifice is open at 1C slot.

All system operated well in automatic mode.  However, on August 6 and 8, respectively, the side and the rectangular screen cleaners triggered alarms due to debris.  In both cases, normal operation resumed after the alarm was cleared and the devices were reset.  Besides daily checks, the channel was also constantly monitored during VBS cleanings and primary bypass operations.

Transportation Facility:  Collection for transport continued until September 8 as described above with smolt monitoring occurring daily.  The primary PIT tag system was activated to run continuously until it was shutdown on September 8.  Balloon tests of the PIT tag lines revealed no problems.  The PIT tag equipment continues to undergo weekly checks.  The secondary (C and D) PIT/bypass gates remained off and closed for collection.  The sample gates remained activated for continuous operation until September 8.

During the week, woody debris blockages occurred at all locations in the facility with the most critical incidences described above.  Due to the diligence of the fisheries staff, there were no other incidences to report.

Transport Summary:  Trucks departed McNary daily from September 2 through 8 due to high debris loads in the raceways.  This is the first time daily trucking due to debris has occurred at McNary.  On September 4, oil was added to the trailer’s recirculation engine.  The left CB antenna fell off the leased truck.  On September 5, the driver reported having problems again with the trailer’s indicator lights.  Both drivers were reminded to take trailer issues to the project mechanic for resolution.

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours.  Clarity data was provided by the control room.  On September 2, from 1009 to 1846, about 15 kcfs was spilled due to flow in excess of powerhouse capacity.  On September 6, the debris spill described above occurred.  Installation of new spill gate controls began this week.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 139.7 | 89.2 | 3.8 | 0.0 | 68.0 | 67.4 | 6.0 | 6.0 |

Other

Inline Cooling Water Strainers: The next examination will occur on September 19.

Invasive Species:  The next zebra mussel station examination will occur in early October.

Predatory Bird Observations:  Bird counts continue with the forebay area being checked once a day and the tailwater area being checked twice a day.  Bird numbers appear to be decreasing.  In tailwater locations, high counts were 15 gulls and 28 cormorants.  All birds were seen in the spill basin.  No birds were noted By the bypass outfalls.  The water cannon operated well.

In forebay locations, the high count was 11 juvenile gulls with an occasional osprey observed.  An occasional small group of gulls or cormorants were noted during ladder inspections.

Research:  The adult lamprey passage study continues.  This week, three replacement cameras were installed on the frame at Oregon ladder entrance, SFEW2.

Project:  Ice Harbor

Biologist: Mark Plummer

Biological Technician: Stephen Jeffers

Dates: September 2 - 8, 2011

## Turbine Operation

Turbine units 1 – 4 and 6 were available for operation this reporting period.  Turbine unit 5 went out of service August 29 at 0135 hours and remains out of service due to a lighting strike and the resulting breaker problems.  Turbine unit 6 was out of service September 7 from 0946 hours to 1816 hours to permit stilling basin surveys in the vicinity of unit 6.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult and juvenile fish passage ways September 6, 7, and 8.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Adult collection channel velocities were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.0 feet, on sill with a depth of 7.1 feet, and off sill with a depth of 8.0 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.0 feet, on sill with a depth of 8.8 feet, and off sill with a depth of 8.0 feet.  The north shore entrance (NSE) was on sill with a depth of 8.8 feet, on sill with a depth of 8.0 feet, and on sill with a depth of 9.1 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  All channel/tailwater differentials were in criteria, except the north channel/tailwater differential.  On each of the inspections, the north fish ladder channel/tailwater differential was out of criteria.  The differentials were: 0.4 feet, 0.7 feet, and 0.0 feet respectively.  Channel/tailwater differential criteria are 1 – 2 feet.  Electricians are currently replacing malfunctioning limit switches and calibrating the recently repaired north shore fish entrance weirs. Repairs to the north adult fish entrance NSE 1 and NSE 2 weir lifting mechanism cables were completed September 7.

### Auxiliary Water Supply System:  Normally, 2 of the 3 north shore fish pumps are operated.  All north shore fish pumps were available for operation.   The north shore fish pumps were turned off September 6, 7, and 8 from approximately 1100 hours to 1600 hours to reduce flow at the north shore fish entrances and facilitate repairs.  South fish pump 3 remains out of service due to vibration issues at the gearbox shaft, repairs are ongoing.  Currently, 6 of 8 south shore fish pumps are operating.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.

STSs/VBSs:  STS rotations are in cycle run mode as the average length of both the subyearling Chinook and the migratory sockeye is above 120 mm.  No problems were observed during the recently completed August STS inspections.  September STS inspections are scheduled for September 12 and 14.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.

Juvenile Bypass Facility:  The bypass was placed into operation March 23.

Fish Sampling:  Fish sampling for the 2011 season concluded July 7.

Removable Spillway Weir:  The RSW ceased operations with the close of the summer spill season on September 1.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 38.8 | 25.3 | 0.0 | 0.0 | 69 | 68 | 6.9 | 6.5 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers: The cooling water strainer in turbine unit 3 was inspected August 29 after 581.6 hours of run time.  No lamprey or other fish were found.

Invasive Species:  No zebra mussels were observed during this period.

Summer spill for fish ended September 1, 2011.

# Project:  Lower Monumental Dam

# Biologists:  William Spurgeon and Elizabeth Lindsey

Dates: September 2 - 8, 2011

## Turbine Operation

The units are being operated within hard constraint 1% criteria.  Unit 3 was taken out of service on September 6 at 0700 hours for turbine bearing oil pump replacement.  Unit 2 was out of service on September 6 from 1126-1131 hours due to an operator error.  Units 1, 2, 4, and 6 were rotated out of service for STS inspections on September 7.  Unit 4 was taken out of service due to a damaged STS screen in gatewell slot 4C at 1415 hours on September 7.  The unit was returned to service at 1430 hours on September 8.  Unit 6 was taken out of service at 1503 hours on September 8 for voltage regulator repair.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC biologists on September 2, 3, 4, and 7.

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differential was in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NSE 1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 6.7’, 7.1’, 7.4’, and 5.8 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 7.7 feet and 6.7 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

### Auxiliary Water Supply System:  All pumps were in service and operating satisfactorily during this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 23.8 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-11% surface coverage.  No oil was observed in gatewells.

STSs/VBSs:  STS operations were changed to cycle mode on August 16 as average fork length of sub-yearling Chinook exceeded 120mm.  STS inspections of units 1, 2, 4, and 6 were conducted on September 7.  Inspection of unit 4 STSs revealed the screen in gatewell slot C required repair.  The screen was replaced September 8.  All other screens were in good operating condition.   STS inspections in units 3 and 5 are scheduled for September 12.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19-20 orifices open.

Transportation Facility:  No problems occurred this week.

Transport Summary:  Alternate day midi-tanker transport is in progress.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 39.4 | 28.0 | 0.0 | 0.0 | 68.0 | 67.0 | 5.0+ | 3.9 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on August 9.  No live lamprey were recovered.  Mortalities recovered included 1 lamprey and 180 Siberian prawns.

Invasive Species: There were no zebra mussels observed at the monitoring stations on September 2.

Pelican presence at the bypass outfall has been infrequent.

Summer spill operation ended at 0006 hours on September 1.

Project:  Little Goose

# Biologists: George Melanson

Dates: September 2 - 8, 2011

## Turbine Operation

Turbine units 1 through 3 and 5 and 6 were available for service throughout the report period.  Turbine unit 4 remained out of service for annual maintenance.  All turbine operations were within 1% of best efficiency.

## Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway September 3, 6 and 8.

Fish Ladder:  The ladder exit head differentials ranged from 0.0 to 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials measured no differential on all three inspections (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.1 and 1.9 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.22 and 8.70 feet (criteria ≥8.0 ft), NPE weirs depths ranged between 6.50 (sill) and 7.24 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 6.2 feet and 7.8 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 fps) ranged from 1.8 to 2.4 fps near the SSE and 2.1 to 3.0 fps near the NSE.

Auxiliary Water Supply System:  All fish pumps operated in criteria.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:   Forebay debris increased to approximately 1000 square feet inside the thrash/shear boom.  The debris consists mostly of small sticks that lifted from the shoreline as reservoir levels increased.

Spillway Weir:  The spillway weir was removed from service on September 1.

ESBS/VBS:   All ESBS operated within criteria this report period.   Drawdown measurements on turbine unit 1 – 3 trashracks and ESBS/VBS were performed on September 8.  All measurements met correct operating criteria.

Orifices, Collection Channel, Dewatering Structure, and Flume:  The juvenile collection system operated in criteria with 22 open orifices.

Transportation Facility:  Daily collection ranged between 32 and 223 for a total of 691 for the week.  There were 21 mortalities this report period.  All fish were transported except for mortalities.  Overall descaling and mortality rates for this report period are 0.4 % and 3.0% respectively. Many sample mortalities exhibited signs of presumed Columnaris disease.

Eleven adult Pacific Lampreys were recovered from the collection this week and were transported one mile upstream above the dam and released back to river in good condition.

Transport Summary:  Fish were transported on September 2, 4, 6 and 8 using the Little Goose 1-ton transport truck.   Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and to reduce stress.  All transport operations were successfully performed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1:  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 39.7 | 28.2 | 0 | 0 | 68.9 | 67.2 | 6.0+ | 5.6 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainers on all units were last inspected on August 31.  No fish were found.

Invasive Species:  The zebra mussel substrate monitor was inspected on August 11.  No mussels were observed.  The next inspection is scheduled for September 10.

Avian Activity:  Up to 11 gulls and 6 cormorants were observed in the vicinity of the dam this reporting period.

Project:  Lower Granite

# Biologists:  Mike Halter and Ches Brooks

Dates: September 2 - 8, 2011

## Turbine Operation

Lower Granite had turbine units 1, 2, and 5 available for power generation at the beginning of the report week.  Turbine unit 6 is undergoing exciter rehabilitation.  The tentative return to service date for this unit is September 8.  Turbine unit 3 is out of service for cavitation repair.  The tentative return to service date for this unit is December 2.  Turbine unit 4 is out of service for exciter rehabilitation and cooling water strainer replacement.  The tentative return to service date for this unit is December 21.   Mandatory court-ordered spill and MOP operations ceased at 0001 hours on September 1.  The Lower Granite forebay operating range was increased to 735.0 – 736.0 feet as a soft constraint and 735.0 – 738.0 as a hard constraint.

## Adult Fish Passage Facility

On September 2, 3, 4, and 5 the Lower Granite COE fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Head differential readings remained within criteria during the fishway inspections this week with the exception of the September 5 inspection.  On that date the head differential readings at the north powerhouse and north shore were below criteria with readings of 0.9 feet and 0.7 feet, respectively (criterion 1.0 – 2.0 feet). Weir depths at the south shore fishway entrances met criteria on all inspections this week due to the cessation of minimum pool operations and tailwater levels increasing to above 633.0 feet (at which level these gates bottom out).  South shore weir depth elevations ranged between 6.2 feet and 8.3 feet on all inspections during the week (criterion ≥ 8.0 feet).  Weir depths met criteria after tailrace elevations increased to above 636.0 feet (at which level these gates bottom out).  Weir depths at the north shore entrances ranged from 5.0 to 8.0 feet (criterion ≥ 7.0 feet).  North shore entrance 1 has been manually dogged off at 628.5 feet which is creating more weir depth than necessary, resulting in the loss of head differential.  This condition has been reported to the operators for correction. Normally weir depth readings at the north shore entrances are sacrificed in order to maintain the requisite 1.0 foot of head differential.  Velocity readings in the adult fishway collection channel transition pool area ranged from 0.73 to 1.02 feet per second and averaged 0.86 feet per second.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during this report week.

#### Juvenile Fish Passage Facility

The juvenile fish facility sample rate remained at 100% during the week.  Fish are being worked up in the lab every other day.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; no debris was removed.

ESBSs/VBSs:  VBS/ESBS video inspections last took place on August 6 - 7.  The inspector noted that an approximately 3 foot section of VBS retaining strap was missing in gatewell slot 1-B, even though the mesh remained entirely in place. This section will be monitored in upcoming inspections and repaired during winter maintenance.  Unit 5 was being run for station service and its associated screens were not inspected

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels remained light.  It was not necessary to go into primary bypass mode to clean the inclined screen during this report period.

Transportation Facility:  The fish facility operated at a 100% sample rate all week (since fish numbers remained below 500 per day).  Sample fish are being processed and transported every other day.  The downstream raceways remain fully operational in the event fish numbers suddenly increase to the point it is necessary to go back to raceway loading.  A serious plug developed in the line leading from the separator sample tank to the sample holding tank between 2130 and 2245 hours on September 7.  Fish facility personnel were able to clear the plug by back-pressuring the pipe with compressed air.  The debris clog was comprised of very small sticks and plastic material.

Transport Summary:   Truck transport of fish is taking place on the even days of the month in September.  Due to low numbers of fish, the midi-tanker was utilized for trucking fish this week.  Trucked fish are being released into the Bonneville bypass line.   All transport operations went smoothly and according to schedule.

Removable Spillway Weir:  Nothing to report.  Spill operations have concluded for the season.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 40.8 | 33.1 | 0.0 | 0.0 | 66.1 | 65.5 | 5.0 | 4.7 |

*Scrollcase temperature

Other

Inline Cooling Water Strainers:   Lamprey strainer inspections were last conducted on August 26.  In summary, a total of four lamprey mortalities were removed from the strainer baskets last month over a total unit run time of 759.8 hours.

Invasive Species:  The zebra mussel traps near the adult fishway exit were examined for zebra mussels during the September 4 inspection.  No evidence of zebra mussels was found.

Research:  Adult fish trap water temperatures remained below the 70° F threshold and adult fish trap operations continued during the week with a sample rate of 10%.  Scale samples are being taken from one out of every 20 hatchery steelhead.  All wild steelhead and Chinook captured are being PIT-tagged with scale and genetic samples also being taken.  Any previously PIT-tagged steelhead or Chinook (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.  Scale samples are also being taken from one out of every three hatchery Chinook.  Sort by code Lemhi origin Chinook are being radio-tagged and scale and genetic samples being taken.

NOAA-Fisheries personnel began tagging fish for the late season truck transport evaluation study on September 8.  Fish are being taken directly from the JFF lab sample. Tagging operations for this study will continue for the duration of fall transport.

Fall Chinook Transport:   Collection of adult fall Chinook for transport to Lyons Ferry Hatchery and the Nez Perce Hatchery at Cherry Lane continued during the week.   Trucking operations will continue into November (or until hatchery needs are met).