U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#30 - 2011

# Project: McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: September 16 - 22, 2011

## Turbine Operation

McNary had 10 to 12 units available for power generation this week.  Units 1 and 10 remain out of service for the rewind contract which will be completed in approximately six months to one year.  On September 16, from 0647 to 1529 hours, units 2 through 5 were removed from and returned to service in an attempt keep the forebay debris contained for removal.  During that time, bay 20 was open to approximately 18 feet on nine occasions for total of 3.9 hours.  A tug with log boom would move the forebay debris north of bay 20 which has a split leaf and after the tug left the area the bay would be opened until the debris was spilled.  Approximately 75 percent of the forebay debris near the powerhouse was removed with this technique.  On September 17, unit 5 was out of service for 4.5 hours for VBS replacement in 5A slot.  From September 19 to 23, unit 8 was out of service for annual maintenance.  On September 20, units 11 through 14 were out of service a total of 1.2 hours for ESBS camera inspections.  On September 21, spill bay 20 was again opened on four occasions from 0850 to 1111 hours so the remaining powerhouse debris could be removed by tug and spilled (actual spill time time totaled 1.6 hours).  No unit outages were necessary for this operation.  From September 21 to 22, unit 14 was out of service for governor maintenance.

The hard constraint one percent criterion continues with no units running outside the criteria.

## Adult Fish Passage Facilities

On September 18, 20 and 21, the McNary fisheries biologist performed measured inspections of the adult fishways.  Adult fish counts, including video review for lamprey counts, and the nightly lowering of Oregon entrance weirs, NFEW2, NFEW3, SFEW1 and SFEW2, for lamprey passage continued.

Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.

At the Washington exit, one low water alarm was reset this week.  Milfoil on the picketed leads continues to be an issue with the leads being cleaned almost daily.

At the Oregon exit, the traveling screen wash pumps triggered alarms once and was reset.  Even though the natural resources staff cleaned the Oregon shore trash racks on September 20, woody debris remains an issue near the Oregon ladder exit.  Leads have to be cleaned almost daily.  Measured differential readings revealed no problems with the traveling screens.  However, screen trash rack differentials did measure 0.7 feet by the end of the week.  These screens will continue to be monitored.

Fishway Entrances and Collection Channel:  The Washington ladder was in criteria all week except on September 18 when W3 measured 7.6 feet.  The technical staff continues to look into new programming and calibration adjustments for the Washington ladder entrances, W2 and W3.  On September 20, inspectors noted both weirs had LEDs that were out of service.  Weir cable drum dial indicators are now being used for measurements.

On September 20 and 21, the Oregon ladder’s north powerhouse entrances, NFEW2 and NFEW3, measured depths of 8.9 feet.  All other Oregon ladder inspection points were in criteria.  The south powerhouse entrance weir, SFEW2, has a failed LED which has not yet been replaced.  For now, the weir drum dial indicator will be used for measurements.  Collection channel velocities averaged 1.4 feet per second.

Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 were in service with blade angles of approximately 30 degrees with no interruptions in service recorded.  Pump 2 remains out of service due to a major overhaul.  The estimated return to service date is January 31, 2012.

The juvenile facility continues to supplying the usual 450 cfs to the north powerhouse pool with no interruptions in service.

During the morning hours of September 20 and 21, the Wasco County PUD turbine unit tripped off line three times, resulting in a total of 5.3 hours outage time.  In each instance, the bypass system operated well.  Outages were cause by debris blockage of the auxiliary water intake trash racks.  These blockages reduced flow to the PUD turbine unit by approximately 20 percent.  On September 22, the PUD turbine unit was taken out of service and the bypass was operated for 3.3 hours.  This outage permitted the cleaning of trash racks associated with conduit number 4.  At the time, only one side of the trash rack was able to be cleaned.  Although the PUD has not experienced another outage, and the Washington ladder remains in criteria, project personnel remain concerned.  Unplanned outages and the interruption of the auxiliary water supply are possible as conduit number 3 also needs to be cleaned.

#### Juvenile Fish Passage Facility

On September 16, the majority of forebay debris was removed.  The system remained in primary bypass overnight and at 0700 hours on September 17, transport collection resumed.  There were no other interruptions in service to report.

For the report week, 29,825 smolts were collected and transported with 20 juvenile lampreys enumerated.  Also, 7,913 juvenile shad were collected.  On September 21, the last of the forebay debris was removed.  On September 22, 20,075 smolts were collected.

Forebay Debris/Gatewell Debris/Oil:  During the week, light to heavy concentrations were observed.  Forebay debris removal operations successfully reduced these concentrations.  Most of the debris was removed from the south end of the powerhouse and the Oregon shore.  However, milfoil at the Washington exit and woody debris along with milfoil at the Oregon exit continue to be a concern.  Trash rack differential monitoring revealed no significant problems and no racks were cleaned.  Repairs to the damaged trash rack hoist and cleaning rake continued.

Predatory birds appeared to follow debris during debris removal operations even when debris traveled through the spill bays.  Fish may have been using the debris for cover before the debris was removed.

No problems were seen in the gatewell slots.  The slot at 1B remains dewatered.

ESBSs/VBSs:  ESBSs are deployed in all units except at 1A, 1B and 10B slots.  The screens in 3B, 5B and 13A slots remain in transducer bypass mode.  ESBS camera inspections at units 11 through 14 revealed no problems.  This week, one rehabilitated screen was returned to the intake deck and two screens were taken to the yard for additional rehabilitation.

VBS monitoring revealed four screens out of criteria.  On September 17, 20, 21 and 22, these screens and 12 others were cleaned.  This included the prototype screen in 4B slot.  Also, on September 17, the screen in 5A slot was replaced.  Fish were evacuated from this slot before the screen replacement occurred and while the unit was out of service.  Units 1 and 10 are missing three and one VBS(s), respectively.  Screen rehabilitation has been accelerated.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Forty two orifices were used this week with no blockages observed.  On September 21, the rope for the ESBS at 2A slot was removed from the orifices inflow.  Orifices at 1B and 1C slots remain closed with “make up orifices” opened in 2A and 2B slots.  On September 16 and 21, during forebay debris removal activities, all orifices associated with units 1 through 5 were closed in order to reduce the amount of debris entering the collection channel.  “Make up” orifices were opened in units 7 through 11 to maintain collection channel water level elevation.

All system operated well in automatic mode.  As mentioned in last week’s report on September 16, the rectangular screen cleaning device had a stick removed from one of the device’s scissor arms, and the limit switch controlling the brush position was adjusted.  On September 16, during the debris removal, the rectangular screen cleaner jammed on debris.  This blockage was cleared without any other problems observed.  On September 22, maintenance personnel noted that the rectangular screen air bubbler was not to be running zone 4 in the transition screen area automatically.  In addition, the bubbler operating sequence was not always in the proper order.  The technical staff has been asked to look into the problem.

The channel was monitored during primary bypass and daily checks, during VBS cleaning and during attempts to remove the forebay debris.  Spot checks of the channel were performed at night when the system was in collection mode.

Transportation Facility:  On September 17 at 0700 hours, primary bypass concluded and collection for truck transport resumed along with daily smolt monitoring activities.  All systems returned to service without any complications.  On September 20, an unclipped pink salmon was released from the separator.  On September 22, due to the high number of fish, the sample rate was reduced from ten to one percent.

Transport Summary:  On September 18, 20 and 22, the fish truck and trailer left McNary.  On September 18, the driver did not find the gasket for the release line at the site.   Little Goose drivers earlier brought a spare gasket, but found the original gasket hanging on a post next to the off-loading platform.  Little Goose drivers have also noted that their cam will not lock with a gasket in place.  Using the hose without the gasket produces a very minor leak and does not harm fish.   The left CB antenna also fell off the truck on September 18 and could not be retrieved.

River Conditions

River conditions during the week are outlined in Table 1 as provided by the smolt monitoring staff whose data day runs from 0700 to 0700 hours.  Clarity data was provided by the control room.  Spill occurred this week as mentioned above for debris removal and once on September 22 to test the new spill gate controls which are being installed.  The spill data below is a daily average.  Data day timing affects how this average is reported.

Table 1.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 123.3 | 96.0 | 5.6 | 0.0 | 68.3 | 66.0 | 6.0 | 5.2 |

Other

Inline Cooling Water Strainers: All cooling water strainers were inspected September 14.  No lampreys were recovered.  The next examination will occur in mid-October.

Invasive Species:  The next zebra mussel station examination will occur in early October.

Predatory Bird Observations:  Bird counts continue with the forebay area being checked once a day and the tailwater area being checked twice a day.  Generally, bird numbers appear to be decreasing.  In the tailwater area, high counts were 100 gulls and 38 cormorants.  Most birds were roosting near the spill basin though some activity has been noted at the powerhouse which might be due to the out migration of juvenile shad.  No birds were noted by the bypass outfalls even though the system was in primary bypass until September 17.  The water cannon operated well.

In forebay locations, the high count was five juvenile gulls with an occasional cormorant observed.  During ladder inspections, an occasional small group of gulls or cormorants was noted.  No grebes were seen on project.

Research:  The adult lamprey passage study continues.

Project:  Ice Harbor

Biologist: Mark Plummer

Biological Technician: Stephen Jeffers

Dates: September 16 - 22, 2011

## Turbine Operation

Turbine units 1, 2, 4, and 6 were available for operation this reporting period.  Turbine unit 1 returned to service September 22 at 1158 hours.  Turbine units 3 and 5 remained out of service.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult and juvenile fish passage ways September 19, 20, 21, and 22.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Adult collection channel velocities were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.0 feet, on sill with a depth of 8.1 feet, off sill with a depth of 8.3 feet, and on sill with a depth of 7.4 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.1 feet, on sill with a depth of 8.0 feet, off sill with a depth of 8.3 feet, and on sill with a depth of 7.4 feet.  The north shore entrance (NSE) was on sill with a depth of 9.1 feet, off sill with a depth of 7.1 feet, off sill with a depth of 7.4 feet, and off sill with a depth of 8.0 feet.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  The powerhouse shift operator was notified to make adjustments to the north shore fishway entrance September 20 and 21.  All channel/tailwater differentials were in criteria.  Channel/tailwater differential criteria are 1 – 2 feet.

### Auxiliary Water Supply System:  Normally, 2 of the 3 north shore fish pumps are operated.  All north shore fish pumps were available for operation.  South fish pump 3 remains out of service due to vibration issues at the gearbox shaft, repairs are ongoing. The return to service of south fish pump 3 is scheduled for next week.  Currently, 6 of 8 south shore fish pumps are operating.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Debris is decreasing in the forebay.  Fish ladder exits are clear of debris and the bubblers are operating.

STSs/VBSs: STS rotations are in cycle run mode as the average length of both subyearling Chinook and the migratory sockeye is above 120 mm at Lower Monumental Dam.  No problems were during the August STS inspections.  September STS inspections were rescheduled for September 27 and 29.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:   The juvenile fish bypass is in operation.  20 orifices are open.

Juvenile Bypass Facility:  The bypass was put into operation March 23.

Fish Sampling:  Fish sampling for the 2011 season concluded July 7.

Removable Spillway Weir:  The RSW is not in operation.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 41.9 | 29.3 | 0.0 | 0.0 | 67 | 67 | 7.1 | 7.1 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers: The cooling water strainer in turbine units 3 and 5 were inspected September 20.  No lamprey or other fish were found.

Invasive Species:  No zebra mussels were observed during this period.

Spill for fish begin April 3, 2011 and ended September 1, 2011.

# Project:  Lower Monumental Dam

# Biologists:  William Spurgeon and Elizabeth Lindsey

Dates: September 16 - 22, 2011

## Turbine Operation

The units are being operated in hard constraint of the 1% operation criteria.  Unit 4 was taken out of service for annual maintenance at 0903 hours on September 12.  Unit 5 was taken out of service for STS inspections from 0717 to 1003 hours on September 19.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC biologists on September 16, 17, 18, and 21.

Fish Ladders: Fishway exit head differential and depth over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differential was in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NSE 1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 6.7’, 6.9’, 6.7’, and 6.5 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth or sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 7.7’, 7.8’ and 7.7 feet.   SSE 2 was out of criteria (6’ above sill) on all inspections.  SSE 2 was taken out of service on September 15 due to a blown gearbox seal.  The gate is closed pending part procurement and repair.  South shore channel/tailwater head was in criteria (1’-2’) this week.

### Auxiliary Water Supply System: All AWS pumps were rotated out of service on September 21 for scheduled maintenance.  All pumps were in service and operating for the remainder of this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 1.5 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-6% surface coverage.  No oil was observed in gatewells.

STSs/VBSs:  STS operation were changed to cycle mode on August 16 as average fork length of sub-yearling chinook exceeded 120mm.  STS inspections in units 1, 2, 4, and 6 were conducted on September 7.  Inspection of unit 4 STSs revealed the screen in gatewell slot 4C required repair.  The screen was replaced September 8.  All other screens were in good operating condition.   STSs in unit 3 and slot 5C were inspected on September 12.  Screens in slots 5A and 5B were inspected on September 19.  These screens were also in good operating condition.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19 orifices open.

Collection Facility:  Facility mortality exceeded 6% on September 16, 17, 21 and 22 due to high incidence of Columnaris.  Percent mortality was 33.0, 50.0, 16.9, and 22.8, respectively.  The percent of sample with columnaris on the days listed above, tracked the mortality rate to within a percentage point. As is the standard procedure at this facility, the transport tank is treated with salt on every load to ease fungal and bacterial infection. No other problems occurred this week.

Transport Summary:  Transport was changed from alternate day to daily mini/midi-tanker trucking on September 22 in response to increased mortality rates.  This change in operation will reduce holding time and stress and should increase fish survival.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 43.5 | 27.8 | 0.0 | 0.0 | 67.5 | 66.0 | 5.0 | 4.4 |

*Scrollcase temperatures.

#### Other

Inline Cooling Water Strainers:  Cooling water strainers were inspected on September 7.  One lamprey mortality was recovered from turbine unit 2.  No other fish were found.

Invasive Species: There were no zebra mussels observed at the monitoring stations on September 2.

Pelican presence at the bypass outfall has been infrequent.

Project:  Little Goose

# Biologists: Rick Weis & James Brandon

Dates: September 16 - 22, 2011

## Turbine Operation

Units 1, 2, 4, 5 and 6 were available for service throughout the report period. Turbine unit 3 was put back in service after annual maintenance was completed on September 22.  All turbine operations were within 1% of best efficiency.

## Adult Fish Passage Facility

COE and ODFW fisheries biologists performed measured inspections of the adult fishway on September 16, 20 and 22.

Fish Ladder:  The ladder exit head differentials ranged from 0.0 to 0.1 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.0 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials was 0.0 (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.1 and 1.9 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.24 and 8.38 feet (criteria ≥8.0 ft), NPE weirs depths ranged between on sill and 7.22 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 5.88 and 7.86 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 fps) ranged from 1.6 to 2.1 fps near the SSE and 2.4 to 2. fps near the NSE.

Auxiliary Water Supply System:  All fish pumps operated in criteria.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:   Forebay debris decreased from an estimated 1200 to 200 square feet inside the trash/shear boom.

Spillway Weir:  The spillway weir was removed from service on September 1.

ESBS/VBS:   All ESBS operated within criteria this report period. Draw downs tests were performed on units 1 and 2 on September 22.  All measurements met criteria.

Orifices, Collection Channel, Dewatering Structure, and Flume:  The juvenile collection system operated in criteria, with 19 to 20 open orifices.

Transportation Facility:  A total 728 salmonid smolts were collected this report period.   All fish were transported except for mortalities.  Descaling and mortality rates for this report period are 0.9 % and 3.5 % respectively.  Many sample mortalities exhibited signs of presumed Columnaris and BKD disease.

Four adult Pacific Lampreys were recovered from the collection this week, transported one mile upstream above the dam and released back to river in good condition.

Transport Summary:  Fish were transported on alternate days (September 16, 18, 20 and 22).  Salt in small concentrations of approximately 1 g/L is added to the midi-tank water to treat potential Columnaris disease and reduce stress.  All transport operations were successfully performed without incident.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1:  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 39.8 | 28.7 | 0 | 0 | 67.0 | 66.2 | 6.0+ | 5.0 |

*Ladder temperature.

Other

Cooling Water Strainers:  Cooling water strainers in all units were last inspected on September 22.  No fish were found.

Invasive Species:  The zebra mussel substrate monitor was inspected on September 15.  No mussels were observed.  The next inspection is scheduled for October 10.

Avian Activity:  Up to 11 gulls and 17 cormorants were observed in the vicinity of the dam this reporting period.

Project:  Lower Granite

# Biologists:  Mike Halter and Ches Brooks

Dates: September 16 - 22, 2011

## Turbine Operation

Lower Granite had turbine units 1, 2, and 5 available for power generation at the beginning of the report week.  Turbine unit 6 is undergoing exciter rehabilitation.  The tentative return to service date for this unit is now September 29.  Turbine unit 3 is out of service for cavitation repair.  The tentative return to service date for this unit is December 2.  Turbine unit 4 is out of service for exciter rehabilitation and cooling water strainer replacement.  The tentative return to service date for this unit is now October 13.   Mandatory court-ordered spill and minimum operating pool requirements ceased at 0001 hours on September 1.  The Lower Granite forebay operating range was increased to 735.0 – 736.0 feet as a soft constraint and 735.0 – 738.0 as a hard constraint.

## Adult Fish Passage Facility

On September 16, 18, 19 and 21 the Lower Granite COE fisheries biologists performed measured inspections of the adult fishway system.   The September 18 inspection was conducted jointly with the Oregon Department of Fish and Wildlife Biologist from Little Goose Dam.

Fish Ladder:  All criteria were met.

Fishway Entrances and Collection Channel:  Head differential readings at all fishway entrances remained within criteria during the fishway inspections this week with the exception of the September 16 inspection when the north shore entrance had a reading of 0.9 feet (criterion 1.0 – 2.0 feet).  Weir depths at the south shore fishway entrances also met criteria during the weekly inspections.  Weir depths at the north powerhouse entrance were on sill all week due to low tailwater elevations (these weirs bottom out at 636.0 feet).  Weir depths at the north shore entrances exhibited mixed results.  Weir depths at entrance 1 met criteria on the September 16 inspection but dropped below criteria on subsequent inspections.  Weir depths at both entrances were below the desired range for the duration of the week with readings ranging from 4.9 to 6.0 feet (criterion ≥ 7.0 feet).  Velocity readings in the adult fishway collection channel transition pool area ranged from 0.81 to 1.02 feet per second and averaged 0.91 feet per second.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.

#### Juvenile Fish Passage Facility

The juvenile fish facility sample rate remained at 100% during most of the report week.  On September 22 at 0700 hours, the sample rate was decreased to 50% due to increased fish numbers.  Fish are being processed in the lab every other day (even days of the month during September).

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.

ESBSs/VBSs:  VBS/ESBS video inspections last took place on August 6 - 7.  The inspector noted that an approximately 3 foot section of VBS retaining strap was missing in gatewell slot 1-B.  He also noted that the mesh was entirely in place. This section will be monitored in upcoming inspections and repaired during winter maintenance.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels remained light during the week.  It was not necessary to go into bypass mode to clean the inclined screen during this week.

Transportation Facility:  Sample fish were examined and transported every other day.  NOAA-Fisheries personnel PIT-tagged subyearling Chinook in the lab to evaluate late season truck transport operations from Lower Granite.  The downstream raceways remain fully operational in the event fish numbers increase to the point it is necessary to resume raceway loading (as was the case on September 22).

Transport Summary:   Truck transport of fish is taking place on the even days of the month in September.  Due to low numbers of fish, the midi-tanker was utilized for trucking fish this week.  Trucked fish are being released into the Bonneville Smolt monitoring Facility outfall flume.  All transport operations went smoothly and according to schedule.

Removable Spillway Weir:  Nothing to report.  Spill operations have concluded for the season.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 39.0 | 31.4 | 0.0 | 0.0 | 67.7 | 67.3 | 5.0 | 4.2 |

*Scrollcase temperature

Other

Inline Cooling Water Strainers:   Lamprey strainer inspections were conducted on September 20.  The strainers in units 1, 2, 5, and 6 were inspected (unit 3 was out of service for cavitation repair; unit 4 was out of service for exciter rehab and strainer replacement; unit 6 is undergoing exciter rehab).  No lamprey were found this month over a total run time of 1,261.7 hours.

Invasive Species:  The zebra mussel traps near the adult fishway exit were last examined for zebra mussels during the September 4 inspection.  No evidence of zebra mussels was found.

Research:  Adult fish trap operations continued during the week with a sample rate of 10%.  Scale samples are being taken from one out of every 25 hatchery steelhead.  All wild steelhead captured are being PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.  Scale samples are also being taken from one out of every three wild fall Chinook.  Scale samples are also being taken from NOAA-Fisheries PIT-tagged Chinook.

NOAA-Fisheries personnel continued PIT-tagging subyearling Chinook for the late season truck transport evaluation study.  Fish are being taken directly from the JFF lab sample. Tagging operations for this study will continue for the duration of fall transport operations.

Fall Chinook Transport:   Collection of adult fall Chinook for transport to Lyons Ferry Hatchery and the Nez Perce Hatchery at Cherry Lane continued during the week.   Trucking operations will continue into November (or until hatchery needs are met).