U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#12-2012

# Project:  McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: May 18 – 24, 2012

## Turbine Operation

McNary had 14 units available for power generation this week.  No units ran outside hard constraint 1% operating criteria.  Unit outages are recorded in Table 1.

Table 1.  Unit Outages at McNary Dam.

| Units | Outage Dates | Outage Length | Reason |
| --- | --- | --- | --- |
| 14 | May 18. | 2.0 hours. | Fuse replaced. |
| 8 thru 14 | May 21. | Total 7.3 hours. | Trash racks cleaned. |
| 1 thru 7 | May 22. | Total 6.5 hours. | Trash racks cleaned. |
| 1 | May 23. | 3.1 hours. | Test crane bus/electrical. |

## Adult Fish Passage Facilities

Measured adult fishway inspections took place on May 18, 20, and 23.  Visual fish counts continued.

### Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.

### At the Washington exit, 2 alarms were triggered this week, one at the regulating and one at the exit weir.  In both cases, normal service resumed after operators reset the alarms.  The picket leads continued to be cleaned almost daily including general maintenance coming in on the weekend to complete this task.

### At the Oregon exit, the south traveling screen incurred multiple alarms which the operators reset.  The regulating weir triggered 1 alarm and the traveling screen wash pump triggered 2 alarms this week.  In all 3 cases, normal operation resumed after the alarms were reset.  Screen differential monitoring results revealed no problems.

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients make it difficult for the project to maintain entrance weir depth and calibration.

All Washington fishway inspection points met criteria this week.  Except for the south powerhouse entrances, SFEW1 and SFEW2, all Oregon fishway inspection points were also in criteria.  All week, SFEW1 and SFEW2, measured weir depths ranging from 8.3 to 8.5 and 7.4 to 7.9 feet, respectively.  These discrepancies are most likely due to hydraulic gradients.  It is also possible the stilts on SFEW2 are affecting the outflow through the south entrances.  South pool head differentials ranged between 1.0 and 1.2 feet.   Collection channel velocities averaged 1.7 feet per second.  On May 30, the project electricians plan to wire in the new velocity meter.

### Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees with no interruptions in service.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.

### On May 21, the Wasco County PUD had one interruption in service for 24 minutes.  No reason was recorded.  During the outage, the bypass system operated properly.

#### Juvenile Fish Passage Facility

The spring bypass season continues with alternating days of primary and secondary bypass with the switch occurring every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 193,539 smolts and 2,300 juvenile lampreys were routed through the secondary bypass.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris accumulations remained moderate with location affected by powerhouse and spillway configurations, river flow and wind patterns.  Much of the debris accumulated in the spillway area passed over the spill bay weirs.  The fisheries staff monitored trash rack differentials with no problems seen.  On May 21 and 22, approximately forty cubic yards of debris were raked and removed from the trash racks.  No species of interest were observed in the debris.  The fisheries staff observed no problems in the gatewell slots during this report period.

ESBSs/VBSs:  ESBSs are currently deployed in all turbine units.  No ESBS camera inspections occurred this week due to trash rack cleaning.

The fisheries staff monitored VBS differential and no problems were found.  On May 21, the project cleaned the VBS in slot 3A slot as a preventative measure.  VBS rehabilitations will resume in June.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use with no blockages observed.  Orifice controller refurbishments continued.  All systems operated well in automatic mode.  The transition screen cleaner will remain out of service until a channel shutdown takes place.  Fisheries personnel continue to monitor the collection channel during all shifts when in primary bypass mode, during VBS inspections and during trash rack raking operations.

Transportation Facility:  During the spring bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations.

The primary (A and B) PIT tag slide gates remained off and closed, as the return to river lines provide a better bypass route for PIT tagged fish.  The system received scheduled maintenance this week.  The secondary (C and D) PIT/bypass gates were off and open.  The fisheries staff turns the sample gates off or on at 0700 hours each day so the gates will be functional during secondary bypass operations.

On May 19, the technician removed a debris blockage from the B side separator exit.  The technician’s quick response resulted in only one unclipped sockeye smolt being lost.

Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.   Final adjustments to the new barge/bypass gate remain under review.

Transport Summary:  No fish transport is taking place at this time.

River Conditions

River conditions during the week are outlined in Table 2 which summarizes data provided by the smolt monitoring staff.  The data day is from 0700 to 0700 hours.  The spring spill program targets calls for 40 percent of flow being spilled.  Due to high flows, spill made up 50 to 55 percent of total river flow this week.

Table 2.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 387.3 | 351.9 | 213.8 | 177.3 | 55.1 | 53.4 | 5.3 | 4.2 |

*Control room data.

Other

Inline Cooling Water Strainers:  All 14 turbine units underwent strainer inspections on May 8.  A total of 116 juvenile lamprey mortalities were recovered.  Inspections will take place in June.

Invasive Species:  Zebra mussel traps were inspected May 20.  No invasive species were found.

Predatory Bird Observations:  APHIS continued to haze birds and day shift technicians continued bird counts.  Tailrace high counts included 58 gulls and an occasional pelican.  Most birds were feeding or roosting in the spill area.  Bypass outfall high counts included 70 gulls with an occasional pelican or cormorant.

The water cannon remains out of service.  However, district personnel are determining whether the installation of a second pump is feasible by the end of May.  The second pump would restore cannon service until the original pump can be repaired.  A contractor will reattach the pipe’s damaged walkway grating on May 30 and 31, giving APHIS personnel and repair crews access to the outfall.  By late May or early June, the district will have a second APHIS person working at McNary.  The propane hazing cannons are operating well.  On May 22, the fisheries mechanics installed timers on each cannon and set them to fire every two minutes.

In the forebay locations, high counts included 31 grebes with an occasional pelican, osprey, cormorant, tern, gull or loon.  Hazing appears to be working well on grebes.  The biologist observed pelicans and gulls roosting on the rocks by the Washington shore boat dock.

This week, three grebes entered the gatewell slots joining the grebe reported last week, making a total of four grebes in the slots.  Two of these grebes passed to the collection channel and out of the system.

Research:  The juvenile salmonid passage study continues.  Another contractor has delayed the Oregon exit traveling screen study.  Researchers are preparing for the adult lamprey passage study.  GBT monitoring and ODFW bass sampling continue.

On May 23, NOAA fisheries sampled smolts for the non native predatory fish diet analysis study.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Biological Technician:  Stephen Jeffers

Dates: May 18 – 24, 2012

## Turbine Operation

Turbine units 1 – 6 were available for operation this reporting period.  Turbine units 4 – 6 were out of service for short periods May 22 for STS and strainer inspections.   Turbine units 1 – 3 were out of service for short periods May 23 also for STS and strainer inspections.  Turbine units 5 and 6 were out of service at 1311 hours for transmission line #3 work and returned to service at 1524 hours on May 24.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fish passage ways May 21, 23, and 24.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Channel/tailwater differential criterion is 1 – 2 feet.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.6 feet, off sill with a depth of 9.5 feet, and off sill with a depth of 8.5 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 10.1 feet, off sill with a depth of 9.8 feet, and off sill with a depth of 8.0 feet.  The north shore entrance (NSE) was off sill with a depth of 8.8 feet, off sill with a depth of 9.2 feet, and off sill with a depth of 8.7 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.   Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel velocities ranged from 0.9 fps – 2.0 fps.  Channel velocity criterion is 1.5 fps – 4.0 fps.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  North shore fish pump 1 returned to service at 1220 hours on May 23.  All 8 south shore fish pumps operated satisfactorily.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satifactorily.

STSs/VBSs:  The STS are in cycle run timing mode.  May STS and turbine cooling water strainer inspections were completed May 22 and 23.  The screen in gatewell unit 4A had come apart and the screen in gatewell unit 1A was ripped.  Both were repaired.  June STS and turbine cooling water strainer inspections are scheduled for June 19 and 20.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was put in operation March 19.  Twenty orifices are open.  No problems to report.

Juvenile Bypass Facility:  The bypass was put into operation March 19.

Fish Sampling:  No sample was performed May 21 Due to reaching our spring/summer yearling Chinook permit take numbers.  A request for additional fish was submitted to NOAA and sampling continued May 24.

May, 24:

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | 39 | 1 | 0 | 0 |
| UC-CH | 16 | 0 | 0 | 0 |
| C-CH-O | --- | --- | --- | --- |
| UC-CH-O | 1 | 0 | 0 | 0 |
| C-SH | 38 | 1 | 0 | 0 |
| UC-SH | 26 | 1 | 0 | 1 |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | 4 | 0 | 0 | 0 |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | 3 | 0 | 0 | 0 |
| TOTAL | 127 | 3 | 0 | 1 |

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 139.4 | 105.4 | 84.3 | 33.6 | 54 | 53 | 3.9 | 3.8 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers: Cooling water strainer inspections took place on May 22 and 23.  Fish recovered included 21 juvenile lamprey mortalities and 1 catfish mortality.

Invasive Species: No zebra mussels were observed during inspections.

# Project:  Lower Monumental

# Biologists: Bill Spurgeon and Elizabeth Lindsey

Dates: May 18 – 24, 2012

## Turbine Operation

All turbine units operated within the hard constraint 1% operation criteria.  Unit 5 was out of service due an exciter problem from 0650 hours on May 14 to 1246 hours on May 19.  Unit 6 was out of service from 0700-1410 hours on May 21 for load testing of the new powerhouse gantry crane.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and State biologists on May 18, 19, 20, 23, and 24.

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.

SPE 1 and SPE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections with the exception of a 7.8 feet reading for SPE 2 on May 23.  This was likely due to spill generated wave action affecting the accuracy of tailwater staff gauge reading.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.

SSE1 weir gate was in depth criteria (criteria: > 8’ or on sill) on all inspections.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week.

### Auxiliary Water Supply System: AWS pumps 1 and 2 were rotated out of service for scheduled maintenance on May 24.  All AWS pumps were in service and operating for the remainder of this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 83.3 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-35% surface coverage.

STSs/VBSs:  STSs are operating in cycle mode.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 19-22 orifices open.

Collection Facility:  The facility is in collection for transport mode.  Battelle research on fish passage and survival continued this week.

Transport Summary:  Every-day barging is occurring.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 135.4 | 102.1 | 35.1 | 23.6 | 56.0 | 54.0 | 2.8 | 1.9 |

*Scrollcase temperatures.

#### Other

Spring spill operation was initiated at 0001 hours on April 3.

Inline Cooling Water Strainers: Cooling water strainers were inspected on May 2.  Six live juvenile lampreys and one steelhead were recovered.  Mortalities included 100 juvenile lampreys, 25 juvenile salmon, and 17 juvenile steelhead.

Invasive Species: There were no zebra mussels observed at the monitoring stations on May 6.

Piscivorous bird numbers have been moderate with gulls being the most common birds observed.  Activity has been focused in the tailrace and bypass outfall zones.  APHIS has been concentrating hazing efforts in these areas.  Pelican abundance remained low with observations primarily in the forebay.   Two shifts of hazing per day began on May 6 and will continue through June 2.

Project:  Little Goose

# Biologist: Rick Weis

Dates: May 18 – 24, 2012

## Turbine Operation

Turbine units 1-6 were available for service throughout this report period.  The turbine units were operated within the 1% efficiency criteria.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway May 18, 22 and 23.

Fish Ladder:  The ladder exit head differentials held steady at 0.1feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials held steady at 0 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactory.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.5 and 2.1 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.0 and 8.5 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 6.5 and 7.4 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 7.1 and 7.9 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.9 to 2.5 fps near the SSE and measured 2.5 fps near the NSE.  Subsurface water velocity measured near the NPE (mid-channel) and measured near the bottom, mid depth and near the surface averaged 2.85 fps.

Auxiliary Water Supply System:  All fish pumps operated within criteria this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Surface woody debris measured up to 600 square feet inside the trash shear boom.  Trash racks on all units were cleaned on May 16-17. Approximately 80 cubic yards were removed.

Spillway Weir:  The spillway weir operated in the low crest position.

ESBS/VBS:  All ESBS operated within criteria this report period.  Drawdown measurements across ESBS and VBS on all units were performed on May 23.  All measurements indicated no debris buildup and screens in good operating criteria.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily estimated collection ranged between 42,807 and 99,419. The estimate collection for the week totaled 440,758.  All fish were transported except for one fry that was returned to the river.  Descaling and mortality rate for the period was 0.9% and less than 0.1% respectively.

Transport Summary:  All barging operations were satisfactorily completed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 129.5 | 102.5 | 38.9 | 29.1 | 54.4 | 52.6 | 2.8 | 1.8 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  On May 22, all cooling water strainers were inspected.  There were 3 unidentified smolts and 5 juvenile lamprey removed.  All were mortalities.

Invasive Species:  The substrate monitor was last inspected on May 9.  No mussels were observed.  The next inspection is scheduled for June 6.

Avian Activity: Bird hazing by USDA continued this week.  Piscivorous activity increased with up to 60 gulls and 12 cormorants and 4 pelicans that were observed in the vicinity of the dam.

Project:  Lower Granite

# Biologist(s):  Mike Halter and Ches Brooks

Dates: May 18 – 24, 2012

## Turbine Operation

Lower Granite had turbine units 1, 2, 3, 5 and 6 available for power generation throughout the report period.  Turbine unit 4 is out of service for cavitation repair.  All turbine units (except unit 1) were operated within the 1% operation criteria.  Unit 1 turbine blades have been welded at a fixed angle and cannot achieve the 1% criteria.  This issue will be addressed after the spring freshet.

## Adult Fish Passage Facility

On May 18, 19 and 21, the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  An additional inspection was conducted on May 22 with the ODFW biologist from Little Goose Dam.

Fish Ladder:  The ladder weir depth at diffuser 14 was out of criteria during the May 18-19 inspections with a depth of 0.9 feet (criterion 1.0 – 1.3 feet).  All criteria were met on the subsequent inspections.

Fishway Entrances and Collection Channel:  All head differential readings remained within criteria during the report week with the exception of the May 22 reading at the north shore entrances where the differential was at 0.9 feet (criterion 1.0’ – 2.0’).  Powerhouse crews worked on the auto mode controller on north shore entrance 1 on May 1-2 and were able to get it to adjust its elevation relative to north shore entrance 2 which is presently fixed at elevation 728.5.    Only north shore entrance 1 can adjust depth relative to the tailwater elevation.

Weir depths at the south shore fishway entrances met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 6.7 to 7.8 feet.  Weir depths at the north shore entrances ranged from 4.9 to 7.1 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.  Velocity readings in the adult fishway collection channel transition pool area ranged from 0.90 to 1.12 feet per second and averaged 1.00 feet per second during the weekly inspections.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.   Fish pumps one and three were run all week.

#### Juvenile Fish Passage Facility

General fish collection activities began on May 1 and continued through this report week.  Fish barges have been leaving Lower Granite on a daily basis since May 2.  The last everyday barge will leave Lower Granite on May 28.  Every other day barging will begin with the barge that leaves on May 30.  The sample rate was increased from 1.0% to 2% at 0700 hours on May 23 and remained at that level for the duration of the report week.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.

ESBSs/VBSs:  There were no problems with fish screens during the report week.  ESBS video inspections were attempted on May 19, but were cancelled due to low water clarity and camera problems.  The next inspections are scheduled for mid June.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:   The debris load through the JFF system was variable during the week and ranged from very light to heavy at times.  There were some minor collection gallery orifice blockages caused by woody debris and the JFF staff backflushed orifices more frequently (on an as needed basis) to help deal with this.

Transportation Facility:  With the exception of some debris issues, the JFF operated smoothly during the week.  Avian hazing activities continued on a 16 hour/day basis and prevented the buildup of gulls and other avian predators.

Transport Summary:  The first everyday barge left Lower Granite on May 2.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Fish barging operations have been going smoothly.  Every day fish barging is scheduled to continue through May 28.

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 137.7 | 106.2 | 47.4 | 21.3 | 54.6 | 54.2 | 2.9 | 2.4 |

*Scrollcase temperature.

Other

Visual adult fish counting at the adult ladder is taking place between the hours of 0400 and 2000.  Visual fish counting began on April 1 and is scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on April 30.  A total of 175 lamprey were found in the strainers over a combined run time of 3,956.4 unit hours.  The next cooling water strainer inspections are scheduled for late May.

Invasive Species:  The zebra mussel trap near the adult fishway exit was last examined for zebra mussels on May 11.  No evidence of zebra mussels was found.

Research

Adult Fish Trap Operations:  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.

Idaho Fish and Game (IDFG) Genetic Stock Identification:  The goal of this study is to develop fine-scale genetic profiles for natural origin salmon and steelhead; develop genetic stock identification (GSI) techniques to estimate stock-specific escapement over LGR, monitor abundance, productivity and distribution of naturally produced adult and juvenile steelhead and salmon; research and monitor stock-specific life history characteristics. At LGR the goal of the study will be to enumerate and characterize the natural production of spring/summer Chinook salmon and steelhead above LGR with regards to age composition and genetic stock profiles. IDFG will sample every day until the first part of July with the goal to collect between 2,000-5,000 genetic samples each from yearling spring/summer chinook and steelhead and 500-3,000 genetic samples from subyearling fall chinook.

Nez Perce Tribal Fisheries Steelhead Kelt Research:  The Nez Perce Tribal Fisheries in coordination with the Corps and The University of Idaho started steelhead kelt research work for the season this week at the holding tanks upstream of the main fish facility.   Clipped and unclipped kelts are being examined to determine the changes that occur during sexual maturity and to determine post spawning changes associated with successful downstream migration and recovery to spawn again.  Dependent on the group, steelhead kelts will be blood sampled, PIT-tagged, acoustic-tagged, trucked, barged, or returned back to the river.

NOAA-Fisheries Transport Study: NOAA staff PIT-tagged migrating smolts at the fish facility upstream raceways for their Transport Evaluation Study, in order to compare smolt to adult returns of in-river migrating smolts to the smolt to adult returns of transported smolts.  This week 14,219 clipped yearling Chinook, 1,968 unclipped yearling Chinook, 815 clipped subyearling Chinook, 3,737 unclipped subyearling Chinook, 19,535 clipped steelhead, 2,287 unclipped steelhead, 93 clipped sockeye, 1,358 unclipped sockeye and 1,158 coho were collectively, marked and transported or handled and transported.

NOAA-Fisheries Reach Survival Study

NOAA staff PIT-tagged smolts for their Survival Study to evaluate the in-river survival of juvenile salmonids bypassed into the tailrace at Lower Granite.  This week 2,669 unclipped yearling Chinook, 1,545 clipped steelhead and 3,077 unclipped steelhead were PIT-tagged and bypassed to the tailrace.