U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#19-2012

# Project:  McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: July 6 - 12, 2012

## Turbine Operation

McNary had 10 to 12 units available for power generation this week.  All available turbine units operated within the 1% peak efficiency criteria this week.  Unit outages are recorded in Table 1.

Table 1.  Unit Outages at McNary Dam.

| Units | Outage Dates | Outage Length | Reason |
| --- | --- | --- | --- |
| 3 | Jun 4 to Jan 30. | 8 months. | Rewind contract. |
| 8 | Jun 11 to Jan 30. | 8 months. | Rewind contract. |
| 5, 6 | Jul 9 to 12. | 3.3 days. | Testing transformer 3. |
| 2 | Jul 6 and 12. | Two trip outs totaling 15.3 hours. | Excitation lost due to failing relay. |

## Adult Fish Passage Facilities

On July 6, 8 and 11, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counts, video monitoring of adult lamprey passage and ladder exit water temperature monitoring continued.

Weirs SFEW1, NFEW2 and NFEW3 are lowered daily from 2100 to 0400 hours in support of night time lamprey passage.  Fisheries technicians have been monitoring the weirs whenever the juvenile system is in primary bypass.  On July 9, the lamprey researcher adjusted the cameras at SFEW1 and SFEW2.

Fish Ladders:  During measured inspections, both ladders met all Fish Passage Plan criteria.

On July 10, Washington exit weirs triggered multiple alarms during scheduled electrical maintenance.  Normal operation resumed after these alarms were cleared and some slight set point adjustments.  The electrician did find a limit switch issue with weir 340.  This weir continues to be examined.

Debris loads along the north shore have been fluctuating.  Project personnel continue to monitor and clean the Washington exit regularly.  On the evening of July 10, the fisheries staff and operators cleaned the picketed leads.  The operators continued to flush some of the debris down the navigation lock.

### At the Oregon exit, the south traveling screen incurred multiple alarms which the operators reset.  Also, on July 9, the mechanics completed scheduled maintenance on the screens.  Screen differential monitoring revealed no problems.

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients continue to make it difficult for the project to maintain entrance weir depth and calibration though the project has made progress with the weirs staying in calibration longer.

All Washington ladder inspection points and most Oregon ladder inspection points met criteria during measured inspections.  All week, the south powerhouse entrances, SFEW1 and SFEW2, measured depths ranging from 8.5’ to 8.7’ and 8.3’ to 8.5’ feet, respectively.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The project was able to maintain the south pool differential at 1.0 to 1.3 feet.  All other Oregon inspection points were in criteria.  Collection channel velocities averaged 1.8 feet per second.  The fisheries staff adjusted and calibrated flow meter on July 9.

### Auxiliary Water Supply System:  Fish pumps 1 and 3 operated with blade angles of 30 degrees, with fish pump 3 incurring interruptions in service on July 7, 8, 11 and 12.  Cumulative outage time totaled 25 minutes.  In each case, pump 3 tripped breakers and alarms after experiencing to low guide bearing cooling water flow.  The maintenance is examining the problem.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions this week.

#### Juvenile Fish Passage Facility

The spring-like bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 209,109 smolts and 5,300 juvenile lamprey were routed through the secondary bypass.

209,109 smolts and 5,300 juvenile lamprey were routed through the secondary bypass.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris accumulations were very light to moderate this week along the powerhouse and moderate along the spillway.  Debris distribution is mainly affected by spillway configuration, turbine operations and weather.  Trash rack differentials and gatewell slots continued to be monitored and no problems were found.

ESBSs/VBSs:  ESBSs are deployed in all turbine units except for unit 3 which is expected to remain out of service until January 2013.  The units 3 ESBSs are being rehabilitated.  The screen in slot 7C remains in transducer bypass mode.  This screen was adjusted July10 immediately after the biologist discovered that the cleaning brush was “short cycling” and not cleaning the entire screen.  On July 10, the screens associated with turbine units 5 and 6 were video inspected and found in good condition.  The “snake camera” was used to inspect the screen in slot 5A and the primary video camera was used to inspect the other screens.  The snake camera worked well but was labor intensive and awkward to use.  Facility mechanics were able to repair the primary camera earlier this week.  An extra camera electrical cable will be ordered.

Five VBSs were found out of differential criteria this week.  This included a differential measurement of 1.7’ for the screen in slot 13A on July 8.  The associated unit was briefly taken out of service to “burp” the screen, reducing the differential to 1.2’.  This screen was cleaned the next day.  A total of 30 screens were cleaned this week (25 as a precautionary measure) on July 7 and July 9 through 12.  Some screens were cleaned more than once.  VBS rehabilitations continued.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use.  Only 1 blockage was observed.  A biologist removed an ESBS rope from the orifice inflow in slot 14B this week.  The transition screen cleaner remains out of service until a channel shutdown occurs, otherwise all automated systems operated satisfactorily.  The fisheries staff continued to monitor the channel during all shifts when in primary bypass mode and during VBS cleaning operations.

Transportation Facility:  During the “spring” bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations. The primary (A and B) PIT tag slide gates continued operating in support of the Pacific Northwest National Laboratory (PNNL) tag retention study (see below).  The secondary (C and D) PIT/bypass gates remained off and open.  Facility staff continued to turn the sample gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.

Transport Summary:  No fish transport operations are taking place at this time.

River Conditions

River conditions during the week are outlined in Table 2 which summarizes data provided by the smolt monitoring staff.  The data day is from 0700 to 0700 hours.  The summer spill program calls for 50 percent of the total river flow to be passed as spill.  Due to high flow conditions and turbine unit outages, actual spill rates ranged from 55 to 63 percent of total river flow.  Routine water temperature monitoring efforts across the project began June 15.  This data is being reported separately.

Table 2.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 362.9 | 328.5 | 219.6 | 179.5 | 62.7 | 59.7 | 6.0 | 4.6 |

*Control room data.

Other

Inline Cooling Water Strainers:  The next cooling water strainer examination will occur in early August.

Invasive Species:  The next zebra mussel trap examination will occur in late July.

Avian Activity:  Corps technicians continued bird counts.  Tailwater counts (exclusive of the bypass outfall) included 15 gulls, 25 terns and 40 pelicans with an occasional cormorant.  Most birds were feeding in the spill area.  Pelicans are apparently feeding on adult shad along the navigation lock wing wall.  Pelicans are also occasionally feeding on carp and shad in powerhouse flow along the Oregon shore.  Counts at the bypass outfall included only an occasional gull.  High counts in forebay locations included 32 gulls and an occasional tern, osprey, or pelican.  In addition, pelicans, gulls and cormorants were seen on the rocks by the Washington shore boat dock.  No grebes were seen anywhere on project this week.

APHIS continued hazing activities with two 8 hour shifts, which covers the 16 hours of day light typical this time of year.  The propane hazing cannons are operating well though strong winds do interrupt their operation.

The bypass outfall water cannon remained out of service.  District personnel have contracted for the installation of a second pump in July to restore service.  The contract will also include outfall pipe walkway repairs.  Additional loose walkway grating was found July 11, further limiting outfall pipe access.  Walla Walla District personnel are to formally inspect the grating July 16.

On July 10, COE Fisheries Field Unit personnel reviewed bird data entry with project biologists.

Research:  Current onsite research includes the juvenile salmonid passage study, Gas Bubble Trauma (GBT) examinations, the adult lamprey passage study and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  The Oregon exit traveling screen study has been rescheduled for next year.

As mentioned above, PNNL researchers continued to utilize the PIT tag sort by code system to recapture and evaluate tag loss rates of subyearling Chinook fitted with neutrally buoyant external JSAT tags.

From July 10 to 14, NOAA Fisheries performed a PIT tag evaluation of the hydraulic jump near the primary bypass junction box.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Biological Technician:  Stephen Jeffers

Dates: July 6 - 12, 2012

## Turbine Operation

Turbine units 1 – 6 were available for operation this reporting period.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fish passage ways July 9, 10, 11, and 12.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 7.2 feet, off sill with a depth of 7.5 feet, off sill with a depth of 7.7 feet, and off sill with a depth of 7.0 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 8.4 feet, off sill with a depth of 9.3 feet, off sill with a depth of 9.9 feet, and off sill with a depth of 10.3 feet.  The north shore entrance (NSE) was off sill with a depth of 5.0 feet, off sill with a depth of 7.4 feet, off sill with a depth of 7.2 feet, and off sill with a depth of 7.2 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.  All out of criteria entrance weir depths and channel/tailwater differentials were reported to the shift operator for adjustment during the inspections.  On these inspections, all entrance weirs that were not at 8 foot depth or on sill, could be lowered as there were plenty of channel/tailwater differential.  The north shore entrance weir was indicating it is on sill, however measuring tape checks indicated that the weir could lower 1 foot.  This was found to be true and the weir was lowered.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel/tailwater differential criterion is 1 – 2 feet.  Channel velocities readings ranged from 0.9 fps – 1.5 fps.  Channel velocity criterion is 1.9 fps – 2.5 fps.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All 8 south shore fish pumps were operated without problems.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.

STSs/VBSs:  STSs are in continuous run mode as to the size of juvenile fish less than 120 mm at Lower Monumental Fish Facility as per FPP.  July inspections are scheduled for 16 and 18.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was place in operation March 19.  Twenty  orifices are open.  No problems to report.

Juvenile Bypass Facility:  The bypass was place into operation March 19.

Fish Sampling:  Juvenile fish sampling occurs Monday and Thursdays.  The last sample of the 2012 season took place July 12.

July 9:

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | 1 | 0 | 0 | 0 |
| UC-CH | --- | --- | --- | --- |
| C-CH-O | 16 | 2 | 0 | 0 |
| UC-CH-O | 84 | 0 | 0 | 0 |
| C-SH | 2 | 0 | 0 | 0 |
| UC-SH | --- | --- | --- | --- |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | --- | --- | --- | --- |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | --- | --- | --- | --- |
| TOTAL | 103 | 2 | 0 | 0 |

July 12:

| Species | Sampled | #Descaled | Morts | Avian Marks |
| --- | --- | --- | --- | --- |
| C-CH | 1 | 0 | 0 | 0 |
| UC-CH | --- | --- | --- | --- |
| C-CH-O | 7 | 0 | 0 | 0 |
| UC-CH-O | 72 | 2 | 0 | 0 |
| C-SH | 1 | 1 | 0 | 1 |
| UC-SH | 2 | 0 | 0 | --- |
| C-COHO | --- | --- | --- | --- |
| UC-COHO | --- | --- | --- | --- |
| C-SOCK | --- | --- | --- | --- |
| UC-SOCK | --- | --- | --- | --- |
| TOTAL | 83 | 3 | 0 | 1 |

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 55.2 | 45.6 | 41.9 | 14.7 | 66 | 63 | 5.0 | 4.4 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Main turbine cooling water strainer inspections were performed June 19 and 20 during STS/VBS inspections.  A total of 4 juvenile lamprey mortalities were found.

Invasive Species:  No zebra mussels were observed during inspections.

Two fish mortalities occurred July 12 when 2 clipped juvenile Chinook jumpers were found below the south adult fish ladder.

# Project:  Lower Monumental

# Biologists: Bill Spurgeon and Elizabeth Lindsey

Dates: July 6 - 12, 2012

## Turbine Operation

The units are being operated in hard constraint of the 1% operation criteria.  Unit 6 was removed from service at 0730 hours on June 25 and remained out of service for annual maintenance through this period.  This unit was returned to service at 1730 hours on July 12.  Unit 1 was removed from service at 0850 hours on July 9 for annual maintenance.  Units were rotated out of service on July 10, 11, and 12 for STS inspections.  Unit 4 was out service from 1100-1652 hours on July 12 for video inspection of STS gearbox in gatewell slot 4A.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and State biologists on July 7, 8, 11, and 12.

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel: NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 6.2’, 6.1’, 5.9’, and 7.0 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.  SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 6.4’, 6.2’, 6.3’, and 7.1 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.

The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week.

### Auxiliary Water Supply System:  All AWS pumps were in service and operating during this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.3 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-25% surface coverage.   A sheen of oil was found in gatewell 4A on July 11.  The STS gearbox was inspected with the underwater camera on July 12 which revealed a minor oil leak.  Oil absorbing socks were placed in the slot and the screen is scheduled to be replaced on July 19.

STSs/VBSs:  STS operations remain in continuous run mode due to sockeye and Chinook under 120 mm in the sample.  STS and VBS inspections were conducted July 10, 11, and 12 with all screens found in good operating condition.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 20 orifices open.  The primary dewaterer automatic weirs were set to 528.1 feet and switched to the off position on June 18 to eliminate sudden water level fluctuations in the separator.

Collection Facility:  The facility is in collection for transport mode.

Transport Summary:  Every-other-day transport is occurring with barges departing on odd numbered days this month.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 54.7 | 43.3 | 18.2 | 16.6 | 68.0 | 64.5 | 5.0+ | 4.5 |

*Scrollcase temperatures.

#### Other

Summer spill operation was initiated at 0000 hours on June 21.

Inline Cooling Water Strainers:  Cooling water strainers were inspected on July 12.  No live lamprey were recovered.  Mortalities included 8 juvenile lampreys, 1 juvenile salmon, and 2 Siberian prawn.

Invasive Species: There were no zebra mussels observed at the monitoring stations on July 1.

Avian Activity:  Piscivorous bird numbers remained very low this week.  Cormorants, gulls, and terns were the prominent species observed.  Hazing ended on June 2.

Research: Battelle research on fish passage and survival ended with the final day of tagging on July 7.

Project:  Little Goose

# Biologist: George Melanson and Richard Weis

Dates: July 6 - 12, 2012

## Turbine Operation

Turbine units 1 - 5 were available for service throughout this report period.  Turbine unit 6 was removed from service on July 1 at 0700 hours for annual maintenance and exciter replacement.  All available turbine units were operated within the 1% efficiency criteria.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway July 06, 08 and July 10.

Fish Ladder:  The ladder exit head differentials remained steady at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs held steady at 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials ranged between 0 and 0.1feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.6 and 2.0 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.2 and 8.4 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.3 and 5.9 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 5.8 and 6.3 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.7 to 2.3 fps near the SSE and 2.2 to 2.5 fps near the NSE.   On July 1, collection channel subsurface water velocity measured 2.62 fps (criteria 1.5 to 4.0) near the NPE.

Auxiliary Water Supply System:  All fish pumps operated within criteria this report period. Fish pump 3 was removed from service on July 11 from 0808 to 1430 hours for cooling water leak repair.  Pumps 1 and 2 were increased in speed to make up additional supply water during the outage.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Nothing significant to report.

Spillbay Weir:  The spillbay weir operated in the high crest position.

ESBS/VBS:  On July 6, during the monthly ESBS manual operation inspection, the fish screen 4C cleaning brush stopped working.  The outage was reported to the shift operator and a trouble report submitted.  On July 9, the brush limit switch was adjusted and the screen returned to service. The associated turbine unit was not operated during the brush outage.  All other screens operated in criteria.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily smolt collection estimates ranged between 1,941 and 6,050 and totaled 24,733 for the week.  Descaling and mortality rate for the period was 0.5% and 0.4% respectively.

Transport Summary:  All barge loading operations were satisfactorily completed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 56.8 | 45.4 | 21.0 | 13.3 | 69.4 | 66.3 | 6.0 | 5.1 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on July 11.  No fish were observed.

Invasive Species:  The Zebra Mussel substrate monitor was inspected on July 12.  No mussels were observed.  The next inspection is scheduled for August 6.

Avian Activity:   Piscivorous birds observed in the vicinity of the dam during the week included up to 16 seagulls, 22 cormorants, 1 tern and 3 pelicans.

Project:  Lower Granite

# Biologist(s):  Mike Halter and Ches Brooks

Dates: July 6 - 12, 2012

## Turbine Operation

Lower Granite had turbine units 1, 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 was taken out of service at 0700 hours on July 9 in order to correct the turbine blade angles and conduct annual maintenance.  Turbine unit 2 was out of service from 1258 hours on July 9 until 1015 hours on July 10 in order to troubleshoot a regulator problem.  Turbine unit 4 is out of service for cavitation repair.  All turbine units (except unit 1) were operated within the 1% operation criteria.  Unit 1 turbine blades have been welded at a fixed angle and cannot achieve the 1% criteria.  This issue is now being addressed.

## Adult Fish Passage Facility

On July 6, 7, and 8 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:   All inspection points were within criteria with the exception of the head differential reading between the forebay and the adult fish ladder exit which was at 0.6 feet on the July 6 inspection (criterion ≤ 0.5 feet).   This inspection point was within criteria during the other two inspections.

Fishway Entrances and Collection Channel:  Head differential readings were within criteria at all adult fishway entrances during the weekly inspections.

Weir depths at the south shore fishway entrances also met criteria during all 3 weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 5.2 to 5.4 feet.  Weir depths at the north shore entrances ranged from 4.0 to 4.9 feet on the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.85 to 1.12 feet per second and averaged 0.97 feet per second during the weekly inspections.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.   Fish pumps one and three were run until July 11 when pump two was started and pump three was placed in standby.

#### Juvenile Fish Passage Facility

The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30 and fish barges are departing Lower Granite on the odd numbered days of the month during July.  The sample rate was lowered from 25% down to 20% on the morning of July 6 due to a slightly higher than desired number of fish in the sample.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.

ESBSs/VBSs:  VBS/ESBS video inspections last took place on June 22 - 23.  All the units’ associated screens were inspected and no problems were noted.  The next inspections are scheduled for August.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels were fairly light during the report week.

Transportation Facility:  The JFF operated smoothly during the week.  There were no operational problems of any kind with fish collection, fish sampling, or fish transportation equipment.  Avian hazing activities concluded for the season on June 30.

Due to the presence of a few juvenile lamprey in the raceways, lamprey friendly tail screens (with larger mesh openings) were deployed in all operating raceways on June 10 and remained in place during the report week.

Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Every other day fish barging operations have been going smoothly and are scheduled to continue through mid August.

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 55.9 | 46.2 | 23.4 | 18.4 | 64.1 | 64.1 | 5.0 | 5.0 |

*Scrollcase temperature.

Other

Visual adult fish counting at the adult ladder is taking place between the hours of 0400 and 2000.  Visual fish counts began on April 1 and are scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on June 27.  A total of 40 lamprey were found in the strainers over a combined run time of 2,320.9 unit hours.  The next cooling water strainer inspections are scheduled for late July.

Invasive Species:  The zebra mussel trap near the adult fishway exit was examined for zebra mussels on July 6.  No evidence of zebra mussels was found.  The next inspection is scheduled for early August.

Fish Salvage:  A fish salvage operation was conducted in the scrollcase of turbine unit 1 between 1000 and 1145 hours on July 11.  Things went smoothly and the only fish encountered were four bridgelip suckers and one steelhead smolt all of which were in good condition.  These fish were transported to the dam tailrace area and released.

Research

Adult Fish Trap Operations:  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.

Idaho Fish and Game (IDFG) Genetic Stock Identification: The goal of this study is to develop fine-scale genetic profiles for natural origin salmon and steelhead; develop genetic stock identification (GSI) techniques to estimate stock-specific escapement over LGR, monitor abundance, productivity and distribution of naturally produced adult and juvenile steelhead and salmon; research and monitor stock-specific life history characteristics. At LGR the goal of the study will be to enumerate and characterize the natural production of spring/summer Chinook salmon and steelhead above LGR with regards to age composition and genetic stock profiles. IDFG sampled every day until the first part of July with the goal to collect between 2,000-5,000 genetic samples each from yearling spring/summer Chinook and steelhead and 500-3,000 genetic samples from subyearling fall Chinook.  This study concluded for the season on July 6.

United States Fish and Wildlife Service (USFWS), United States Geological Service (USGS), NMFS-Early Life History, migratory behavior and survival of fall Chinook salmon in the Snake River:  The goal of this study is to provide information to fishery managers to maximize the effectiveness of summer flow augmentation and understand how summer flow augmentation affects water temperature, water velocity, juvenile fall Chinook salmon migratory behavior, and juvenile fall Chinook salmon survival in Lower Granite Reservoir. The separation-by-code system at LGR will be used to recapture some of the fish PIT-tagged during beach seining to allow growth calculations and to photograph fish for morphological assessment.