U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#20-2012

# Project:  McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: July 13 - 19, 2012

## Turbine Operation

McNary had 10 to 12 units available for power generation this week.  All available turbine units operated with the 1% efficiency criteria.  Unit outages are recorded in Table 1.

Table 1.  Unit Outages at McNary Dam.

| Units | Outage Dates | Outage Length | Reason |
| --- | --- | --- | --- |
| 3 | Jun 4 to Jan 30. | 8 months. | Rewind contract. |
| 8 | Jun 11 to Jan 30. | 8 months. | Rewind contract. |
| 7 | Jul 16 to unknown. | Unknown. | Annual maintenance, then oil leak. |
| 12 to 14 | Jul 17. | Total 42 minutes. | ESBS camera inspections. |
| 2 | Jul 17 and 18. | 4.4 hours and 5.3 hours. | Exciter testing. |
| 10 | Jul 19 to 20. | 17.2 hours. | Relay failure. |

## Adult Fish Passage Facilities

On July 13, 15 and 18, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counting, video monitoring of adult lamprey passage and ladder exit water temperature monitoring continue.

From 2100 to 0400 hours each day, nightly lowering of SFEW1, SFEW2, NFEW2 and NFEW3 for lamprey passage occurs.  Fisheries technicians have been monitoring the weirs when the juvenile system is in primary bypass.  On July 14, a biologist noted that NFEW1 cables vibrated severely when NFEW2 and NFEW3 were in lamprey mode.  These cables will be examined for damage next week during scheduled maintenance.  On July 20, project personnel will install a specially designed hand rail around SFEW2.  This will allow lamprey researchers access without the need for fall protection and other safety measures that are currently required in this location.

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.

On July 15, the Washington ladder exit triggered multiple alarms due to lower limit switch issues with weir 340.  The limit switch issue was reported last week and has not yet been resolved.  The operators restored normal operation following slight set point adjustments.  The amount of debris along the north shore has been fluctuating, though generally decreasing.  Project personnel continue to monitor and clean the Washington exit regularly.  The fisheries staff cleaned the picketed leads on July 14.  There were no issues to report at the Oregon ladder exit.  Traveling screen differential monitoring revealed no problems.

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients continue to make it difficult for the project to maintain entrance weir depth and calibration,  though the project has made progress with the weirs staying in calibration longer.

All Washington ladder and most Oregon ladder inspection points were in criteria.  All week, the south powerhouse entrances, SFEW1 and SFEW2, measured depths ranging from 8.0’ to 8.9’ and 8.1’ to 8.5’, respectively.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The facility was able to maintain the south pool differential at 1.1 to 1.2 feet.  These entrances triggered alarms on July 18.  Normal operations were restored after the alarms were reset.  All other Oregon inspection points were in criteria.  Collection channels velocities averaged 2.0 feet per second.

### Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 operated with blade angles of 30 degrees.  Pump 1 was taken out of service for 54 minutes on July 17 to allow replacement of the pump bearing cooling water supply lines.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine unit had no interruptions in service this week.

#### Juvenile Fish Passage Facility

The spring-like bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 127,506 smolts and 2,200 juvenile lamprey were routed through the secondary bypass.

Forebay Debris/Gatewell Debris/Oil:  Forebay debris was very light to light along the powerhouse this week though several thunderstorms occurred.  The debris load was light to moderate along the spillway.  High flows, weather and project operations affect debris distribution.  Trash rack differential measurements and gatewell slot observations continued.  No problems were found.

ESBSs/VBSs:  ESBSs are deployed in all turbine units except unit 3 which is out of service until January 2013.  Unit 3 ESBSs are currently being rehabilitated.  The ESBS in slot 7C slot remains in transducer bypass mode.  Camera inspections took place in slot 12C, and in turbine units 13 and 14 this week.   Two weeks ago, these screens were not inspected as planned following camera failure.  No problems were found.

VBS differential measurements revealed four screens out of criteria.  These screens were cleaned along with 16 others on July 13, 18 and 19.  On July 17, turbine units 6, 13 and 14 were briefly taken out of service to allow material to slough or “burp” off the screens.  Although the associated screens were not out of criteria, this action took place at the request of the general maintenance crew.  These screens were cleaned later in the week.  VBS rehabilitations continued.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe: This week, 42 orifices were in use.  Only 1 blockage was observed.  A biologist removed an ESBS rope from the orifice inflow in slot 14A this week.  The transition screen cleaner remains out of service until a channel shutdown occurs, otherwise all automated systems operated satisfactorily.  The fisheries staff continued to monitor the channel during all shifts when in primary bypass mode and during VBS cleaning operations.

Transportation Facility:  During the “spring” bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations.  The primary (A and B) PIT tag slide gates continued operating in support of the Pacific Northwest National Laboratory (PNNL) tag retention study (see below).  The secondary (C and D) PIT/bypass gates remained off and open.  Facility staff continued to turn the sample gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  PSMFC personnel adjusted the sample timer Programmable Logic Circuit (PLC) without incident on July 19.  Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.

Transport Summary:  This week, regional entities discussed the need for barge transport operations at McNary Dam in light of current high river flow conditions and the construction of the new juvenile bypass outfall this past winter.  As a result of these discussions, the Corps of Engineers agreed not to implement fish transport by barge this year at McNary Dam.  Facility staff is now preparing for fish transport by truck.  On July 18, facility drivers conducted a test run to the Bonneville release site.  The drivers found one valve at the site which needed replacement.  Fish collection for trucking will begin on August 17 at 0700 hours with the first truck leaving the facility on August 18.

River Conditions

River conditions during the week are outlined in Table 2 which the smolt monitoring staff provides.  The data day is from 0700 to 0700 hours.  The summer spill program calls for 50 percent of flow being spilled.  Due to high flows, transmission line restrictions and turbine unit outages, 55 to 60 percent of total river flow was spilled this week.  From July 13 to 16, spill bay 19 was closed due to a gate coupler failure.  Routine water temperature monitoring efforts across the project began June 15.  This data is being reported separately.

Table 2.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 347.8 | 294.4 | 208.5 | 160.8 | 64.3 | 63.2 | 6.0 | 5.5 |

*Control room data.

Other

Inline Cooling Water Strainers:  The next cooling water strainer examination will occur in early August.

Invasive Species:  The next zebra mussel trap examination will occur in late July.

Avian Activity:  Corps technicians continued bird counts.  Tailwater counts (exclusive of the bypass outfall) included 32 gulls, 13 terns and 17 pelicans with an occasional cormorant.  Most birds were feeding in the spill area.  Pelicans are apparently feeding on adult shad along the navigation lock wing wall.  Pelicans are also occasionally feeding on carp and shad in powerhouse flow along the Oregon shore.  The terns and gulls appeared to be working the southern edge of the spill.  Counts at the bypass outfall included only an occasional tern.  High counts in forebay locations included 14 juvenile gulls which appear to be scavenging for food.   In addition, forebay observations included an occasional tern, osprey, cormorant or pelican.  Pelicans, gulls and cormorants continued to be seen on the rocks by the Washington shore boat dock.  No grebes were seen anywhere on project this week.

APHIS continued hazing activities with two 8 hour shifts, which covers 16 hours of day light.  The propane hazing cannons are operating well.

The bypass outfall water cannon remained out of service.  District personnel have contracted for the installation of a second pump to restore service when river flows recede.  The contract will also include outfall pipe walkway repairs.  Walla Walla District personnel formally inspected the grating July 16 and are expected to return July 23 to inspect the grating and the sprinkler.

Research:  Current onsite research includes the juvenile salmonid passage study, Gas Bubble Trauma (GBT) examinations, the adult lamprey passage study and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  The Oregon exit traveling screen study has been rescheduled for next year.

As mentioned above, PNNL researchers continued to utilize the PIT tag sort by code system to recapture and evaluate tag loss rates of subyearling Chinook fitted with neutrally buoyant external JSAT tags.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Biological Technician:  Stephen Jeffers

Dates: July 13 - 19, 2012

## Turbine Operation

Turbine units 1 – 6 were available for operation this reporting period.  Turbine units 1, 2, and 3 were out of service for short periods July 16 while STS/VBS inspections were performed.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fish passage ways July 16, 17, 18, and 19.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Aquatic vegetation is building up on the south fish ladder picketed leads requiring more frequent cleaning.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was off sill with a depth of 8.4 feet, off sill with a depth of 8.0 feet, off sill with a depth of 8.9 feet, and off sill with a depth of 8.6 feet.  The north powerhouse entrance (NFE) was off sill with a depth of 9.0 feet, on sill with a depth of 8.2 feet, on sill with a depth of 9.8 feet, and off sill with a depth of 8.9 feet.  The north shore entrance (NSE) was off sill with a depth of 5.1 feet, off sill with a depth of 7.4 feet, on sill with a depth of 7.9 feet, and off sill with a depth of 6.0 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.  All out of criteria entrance weir depths and channel/tailwater differentials were reported to the shift operator for adjustment during the inspections.  The NFE was manually lowered to sill.  The lower limit switches on this entrance failed last year and remains unrepaired.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel/tailwater differential criterion is 1 – 2 feet.  Channel velocities readings ranged from 1.7 fps – 3.0 fps.  Channel velocity criterion is 1.9 fps – 2.5 fps.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All 8 south shore fish pumps operated satisfactorily.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.

STSs/VBSs:  STSs are in continuous run mode as juvenile fish lengths are less than 120 mm at Lower Monumental Fish Facility per FPP.  STS inspections are scheduled for July 16 and 18.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19.  Twenty orifices are open.  No problems to report.

Juvenile Bypass Facility:  The bypass was put into operation March 19.

Juvenile Fish Sampling:  The last sample of the 2012 season took place July 12.

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 49.6 | 42.8 | 39.1 | 32.3 | 68 | 66 | 4.6 | 4.4 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Cooling water strainer inspections were performed July 16 in turbine units 1, 2 and 3.  No juvenile lamprey were found.  Turbine units 4, 5 and 6 are scheduled for inspection later this month.

Invasive Species: No zebra mussels were observed during inspections.

# Project:  Lower Monumental

# Biologists: Bill Spurgeon and Elizabeth Lindsey

Dates: July 13 - 19, 2012

## Turbine Operation

All turbine units are being operated within the hard constraint of the 1% efficiency criteria.  Unit 1 was removed from service at 0850 hours on July 9 for annual maintenance.  Unit 4 was out of service from 0920-1205 hours on July 19 to replace the STS in gatewell slot 4A.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC/State biologists on July 13, 14, 15, 18, and 19.

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) during all inspections.

### Fishway Entrances and Collection Channel:  NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) during all inspections.  SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill, the gate depth readings were 7.0’, 5.8’, 6.2’, 6.4’, and 5.9 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.  SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 7.3’, 6.1’, 6.5’, 6.7’, and 6.4 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.  The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec) this week.

### Auxiliary Water Supply System: All AWS pumps were in service and operating satisfactorily during this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-25% surface coverage.

STSs/VBSs:  STS operations remain in continuous run mode as sampled sockeye and Chinook remained under 120 mm in length.  Unit 1 STS operations were switched to the off position on July 17 as the unit is undergoing annual maintenance.  The STS in gatewell slot 4A was replaced on July 19.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 20-21 orifices open.  The primary dewaterer automatic weirs were set to 528.1 feet and switched to the off position on June 18 to eliminate sudden water level fluctuations in the separator.

Collection Facility:  The facility is in collection for transport mode.

Transport Summary:  Every-other-day transport is occurring with barges departing on odd numbered days this month.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 47.9 | 39.0 | 19.2 | 16.6 | 70.5 | 67.5 | 5.0+ | 4.4 |

*Scrollcase temperatures.

#### Other

Summer spill operation was initiated at 0000 hours on June 21.

Inline Cooling water Strainers: Cooling water strainers were inspected on July 12.  No live lamprey was recovered.  Mortalities included 8 juvenile lampreys, 1 juvenile salmonid, and 2 Siberian prawn.

Invasive Species: There were no zebra mussels observed at the monitoring stations on July 1.

Avian Activity:  Piscivorous bird numbers remained very low this week.  Cormorants, gulls, and terns were the prominent species observed.  Hazing ended on June 2.

Project:  Little Goose

# Biologist: Richard Weis

Dates: July 13 - 19, 2012

## Turbine Operation

Turbine units 1 - 5 were available for service throughout this report period.  Turbine unit 6 was removed from service on July 1 at 0700 hours for annual maintenance and exciter replacement.  Unit #1 was forced out on July 15 at 0040 hours for one hour due to governor oil accumulator relief valve failure.  The valve was reseated and returned to service.  All available turbine units were operated within the 1% efficiency criteria.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway July 13, 14 and July 17.

Fish Ladder:  The ladder exit head differentials remained steady at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs held steady at 1.2 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained steady at 0 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.7 and 2.1 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 7.9 and 8.4 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 4.9 and 5.3 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 5.3 and 5.7 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.8 to 1.9 fps near the SSE and 2.3 fps near the NSE.   On July 1, collection channel subsurface water velocity measured 2.62 fps (criteria 1.5 to 4.0) near the NPE.

Auxiliary Water Supply System:  Fish pump 2 was removed from service on July 19 for 30 minutes in support of rpm meter repairs.  Pumps 1 and 2 were increased in speed to provide additional supply water during the outage.   Other than this short outage, all fish pumps operated within criteria this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Nothing significant to report.

Spillway Weir:  The spillway weir operated in the high crest position.

ESBS/VBS:  All screens operated within criteria.  Drawdown measurements were performed on units 1-3 on July 18.  All measurements indicated screens met good operating criteria.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily smolt collection estimates ranged between 2,150 and 6,310 totaling 26,333 for the week.  Average descaling and mortality rates for the period were 0.6% and 0.6% respectively.

Transport Summary:  All barging operations were satisfactorily completed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 49.9 | 39.7 | 28.6 | 13.3 | 70.2 | 68.6 | 5.3 | 4.4 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on July 18.  No fish were observed.

Invasive Species:  The zebra mussel substrate trap was inspected July 12.  No mussels were observed.  The next inspection is scheduled for August 6.

Avian Activity:  Piscivorous birds observed in the vicinity of the dam during the week included up to 15 seagulls, 11 cormorants and 4 terns.

Project:  Lower Granite

# Biologist(s):  Mike Halter and Ches Brooks

Dates: July 13 - 19, 2012

## Turbine Operation

Lower Granite had turbine units 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 is out of service in order to correct the turbine blade angles and conduct annual maintenance.  Turbine unit 4 is out of service for cavitation repair.  All turbine units were operated within the 1% operation criteria.

## Adult Fish Passage Facility

On July 13, 14, 15, 16 and 19 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.  A second fishway inspection was conducted July 19 in order to compare fishway conditions when the auxiliary water system fish pumps were run at high speed versus slow speed.

Fish Ladder: All criteria were met.  The differential between the forebay and the adult fish ladder exit was at 0.5 feet on the July 14 and 16 inspections (the maximum acceptable level).

Fishway Entrances and Collection Channel:  The head differential readings at the north shore fishway entrances were out of criteria during the July 13 and 14 inspections with readings of 0.8 feet on both dates (criterion 1.0’ – 2.0’).  This was likely due to tailwater fluctuations caused by spill.  South shore fishway entrances weir depths met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 4.9 to 5.3 feet.  Weir depths at the north shore entrances ranged from 3.6 to 4.9 feet during the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.87 to 1.18 feet per second and averaged 1.07 feet per second during the weekly inspections.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.  Fish pumps 1 and 2 were run until July 19 when fish pump 3 was started and fish pump 1 was placed in standby.

#### Juvenile Fish Passage Facility

The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30 and fish barges are departing Lower Granite on the odd numbered days of the month during July.  The juvenile fish facility sample rate remained at the 20% level during the report week.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.

ESBSs/VBSs:  VBS/ESBS video inspections last took place on June 22 - 23.  All screens were inspected and no problems were noted.  The next inspections are scheduled for August.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels were fairly light during the report week.

Transportation Facility:  The JFF operated smoothly during the week.  There were no operational problems of any kind with fish collection, fish sampling, or fish transportation equipment.  Avian hazing activities concluded for the season on June 30.

Due to the presence of a few juvenile lamprey in the raceways, lamprey friendly tail screens (with larger mesh openings) were deployed in all operating raceways on June 10 and remained in place during the report week.

Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Every other day fish barging operations have been going smoothly and are scheduled to continue through mid August.

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW continued in service in support of general spill operations.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 49.2 | 40.7 | 26.5 | 18.2 | 67.8 | 65.7 | 5.0 | 5.0 |

*Scrollcase temperature.

Other

Visual adult fish counts at the adult ladder are taking place between the hours of 0400 and 2000.  Visual fish counts began April 1 and are scheduled to continue through October 31.

Inline Cooling Water Strainers:  Cooling water strainers were last inspected for lamprey entrainment on June 27.  A total of 40 lamprey were found in the strainers over a combined run time of 2,320.9 unit hours.  The next cooling water strainer inspections are scheduled for late July.

Invasive Species:  The zebra mussel trap near the adult fishway exit was last examined July 6.  No evidence of zebra mussels was found.  The next inspection is scheduled for early August.

Research

Adult Fish Trap Operations: The adult fish trap was shut down at 0740 hours on the morning of Wednesday, July 18 due to high water temperatures.  The trap temperature at the time of shutdown was 70.7 degrees F.  Only two Chinook were in the trap at that time.  NOAA-Fisheries personnel resumed adult trap operations at 0745 hours the next day, when the water temperature fell to 68 Degrees F.  Water temperatures continued to be monitored closely.

United States Fish and Wildlife Service (USFWS), United States Geological Service (USGS), NMFS-Early Life History, Migratory Behavior and Survival of Fall Chinook Salmon in the Snake River:  The goal of this study is to provide information to fishery managers to maximize the effectiveness of summer flow augmentation and understand how summer flow augmentation affects water temperature, water velocity, juvenile fall Chinook salmon migratory behavior, and juvenile fall Chinook salmon survival in Lower Granite Reservoir. The separation-by-code system at LGR will be used to recapture some of the fish PIT-tagged during beach seining to allow growth calculations and to photograph fish for morphological assessment.

Water temperatures at the SBC (sort-by code) tank were in excess of 20 degrees C on the mornings of July 16 and 18; the fish were released back to the river without handling.