U.S. ARMY CORPS OF ENGINEERS

WALLA WALLA DISTRICT

#### FISH FACILITIES WEEKLY REPORT

#22-2012

# Project:  McNary

# Biologists: Carl Dugger and Bobby Johnson

Dates: July 27 – August 2, 2012

## Turbine Operation

McNary had 11 to 12 units available for power generation this week.  All available turbine units operated with the 1% efficiency criteria.  Unit outages are recorded in Table 1.

Table 1.  Unit Outages at McNary Dam.

| Units | Outage Dates | Outage Length | Reason |
| --- | --- | --- | --- |
| 3 | Jun 4 to Jan 30. | 8 months. | Rewind contract. |
| 8 | Jun 11 to Jan 30. | 8 months. | Rewind contract. |
| 13 | Jul 23 to Aug 2. | 10 days. | Annual maintenance. |
| 5, 6 and 9 to 12 | Jul 27. | Total 3.7 hours. | Trash rack cleaning. |
| 1, 2 and 4 | Jul 30. | Total 1.9 hours. | Trash rack cleaning. |
| 7 and 14 | Jul 31. | Total 45 minutes. | ESBS camera inspections. |
| 6 | Aug 1. | 4. 8 hours. | Tap the hub. |

## Adult Fish Passage Facilities

On July 27, 29 and 31, the McNary fisheries biologist performed measured inspections of the adult fishways.  Visual fish counts, video monitoring of adult lamprey passage and ladder exit water temperature monitoring continued.

From 2100 to 0400 hours each day, nightly lowering of SFEW1, SFEW2, NFEW2 and NFEW3 for lamprey passage occurs.  Fisheries technicians have been monitoring the weirs when the juvenile system is in primary bypass.

Fish Ladders:  Both ladders met all Fish Passage Plan criteria during measured inspections.

On July 31, multiple alarms occurred at the Washington exit, which the operator cleared.  Weir 340 still has a lower limit switch issue.  Normal operations resumed after the alarms were cleared.  Debris loads along the north shore have been fluctuating.  Project personnel continue to monitor and clean the Washington exit regularly.  At the Oregon exit, the south traveling screen triggered an alarm once this week.  Normal operation resumed when the operator reset the alarm.  Traveling screen differential measurements were satisfactory and no problems were evident.

Fishway Entrances and Collection Channel:  Spill turbulence and hydraulic gradients continued to make it difficult for the project to maintain entrance weir depth and calibration.  The project staff has made some progress as the weirs stay in calibration longer.

All Washington ladder and most Oregon ladder inspection points were in criteria.  On July 27 and 29, the south powerhouse entrances, SFEW1 measured depths ranging from 8.1’ to 8.7’.  All week, SFEW2 weir depths ranged from 8.4’ to 8.8’.  It is possible the stilts on SFEW2 are affecting the flow out of the south entrances.  The facility was able to maintain the south pool differential at 1.1 feet.  All other Oregon inspection points were in criteria.  Collection channel velocities averaged 1.3 feet per second.

### Auxiliary Water Supply System:  For the week, fish pumps 1 and 3 were operated with blade angles of 30 degrees with only one interruption in service.  On July 31, pump 3 tripped off line for 26 minutes due to low bearing cooling water flow.  Pump 2 remains out of service for major overhaul which will require a contract.  The juvenile facility continues to provide the usual 450 cfs to the north powerhouse pool.  The Wasco County PUD turbine units had no interruptions in service this week.

#### Juvenile Fish Passage Facility

The spring-like bypass season continues with alternating days of primary and secondary bypass operations.  The switch between the 2 bypass modes takes place every morning at 0700 hours.  No deviation from this schedule occurred.  This week, 124,738 smolts and 1,600 juvenile lamprey were routed through the secondary bypass.

Forebay Debris/Gatewell Debris/Oil:  Moderate to heavy debris accumulations were noted along the powerhouse and along the spillway this week.  High flows, weather and project operations continued to affect debris distribution.  On July 27 and 30, trash racks associated with turbine units 1, 2, 4 to 6, and 9 to 12 were cleaned.  Approximately 10 yards of debris was removed.  This material contained mostly milfoil and some woody debris.  All turbine unit trash racks have been racked within the last 2 weeks except for those associated with turbine units 3 and 8 which are out of service.   No problems were noted in the gatewells.

ESBSs/VBSs:  ESBSs are deployed in all turbine units except unit 3 which is out of service until January 2013.  Unit 3 ESBSs are currently being rehabilitated.  The ESBSs in slots 1A and 7C remain in transducer bypass mode.  Operators reset both of these screens this week after technicians noted neither cleaning brush was traveling to the end of their screen.  Camera ESBS inspections took place in turbine units 7, 13 and 14 on July 31.  All inspected screens were found in satisfactory condition.  Unit 13 was already out of service during the inspection.  No other ESBS problems to report this week other than an electrician repairing a cable for a screen in slot 1A.  Five VBSs were did not meet differential criteria this week.  These and 19 other screens were cleaned on July 27, 30, August 1 and 2.  VBS rehabilitations continued.  Work is scheduled to begin soon on VBSs associated with units 3 and 8 which are out of service.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  This week, 42 orifices were in use and no blockages were observed.  Facility maintenance staff serviced the orifice actuator oil reservoirs this week.  The transition screen cleaner remains out of service until a channel shutdown occurs, otherwise all automated systems operated satisfactorily.  The fisheries staff continued to monitor the channel during all shifts when in primary bypass mode, during VBS cleaning operations and during trash rack raking operations.

Transportation Facility:  During the “spring” bypass season, both bypass modes return all fish to the river.  PIT tag detection occurs in the full flow pipe during primary bypass operations and throughout the facility during secondary bypass operations.  Smolt monitoring occurs only during secondary bypass operations.  The primary (A and B) PIT tag slide gates continued operating in support of the Pacific Northwest National Laboratory (PNNL) tag retention study (see below).  The secondary (C and D) PIT/bypass gates remained off and open.  Facility staff continued to turn the sample gates off or on at 0700 hours each day so the gates will be functional only during secondary bypass operations.  Ice block checks of the return to river lines revealed no blockages.  However, due to the new location of the bypass outfall and high tailwater elevations, the fisheries staff is having difficulty seeing the ice blocks exit the pipe.  This week, the facility staff prepared the fish trailer for truck transport season.  From August 6 to 17, contractors plan to work on access ways to the flume and adult Pit tag detector near the separator.

Transport Summary:  No fish transport in progress at this time.

River Conditions

River conditions during the week are outlined in Table 2 using data provided by the smolt monitoring staff.  The data day is from 0700 to 0700 hours.  The summer spill program calls for 50 percent of flow being spilled.  Due to high flows and turbine unit outages, 50 to 58 percent of total river flow was spilled this week.  Spillbay hoists underwent scheduled maintenance this week.

Routine water temperature monitoring efforts across the project began June 15.  This data is being reported separately.

Table 2.  River conditions at McNary Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF) |  | Water Clarity* (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 308.9 | 249.0 | 178.4 | 124.8 | 66.6 | 65.1 | 6.0 | 4.8 |

*Control room data.

Other

Inline Cooling Water Strainers:  The next cooling water strainer examination will occur on August 7.

Invasive Species:  The next zebra mussel trap examination will occur in late August.

Predatory Bird Observations:  Corps technicians continued bird counts.  Tailwater counts (exclusive of the bypass outfall) included 16 gulls, 12 pelicans, 3 terns and an occasional cormorant.  Most birds were feeding in the spill area.  Pelicans are apparently feeding along the navigation lock wing wall.  No birds were seen at the bypass outfall.  High counts in forebay locations included 15 juvenile gulls and an occasional osprey.  Pelicans, gulls and cormorants continued to be seen on the rocks by the Washington shore boat dock.  No grebes were seen anywhere on project this week.  Bird numbers appear to be decreasing.  APHIS continued hazing activities with two shifts at McNary which covers 16 hours of daylight.  The propane hazing cannons are operating well.

The bypass outfall water cannon remained out of service.  District personnel have contracted for the installation of a second pump to restore service when river flows recede.  Outfall pipe walkway grating repairs are scheduled to begin August 13.

Research:  Current onsite research includes the juvenile salmonid passage study, Gas Bubble Trauma (GBT) examinations, the adult lamprey passage study and ODFW angling efforts to sample Northern Pikeminnow and other fish species that prey on smolts.  The Oregon exit traveling screen study has been rescheduled for next year.

As mentioned above, PNNL researchers continued to utilize the PIT tag sort by code system to recapture and evaluate tag loss rates of subyearling Chinook fitted with neutrally buoyant external JSAT tags.

Project:  Ice Harbor

# Biologist:  Mark Plummer

Biological Technician:  Stephen Jeffers

Dates: July 27 – August 2, 2012

## Turbine Operation

Turbine units 1 – 3 were available for operation this reporting period.  Turbine 4, 5, and 6 remain out of service.

## Adult Fish Passage Facilities

### Fish facility personnel inspected the adult fish passage ways July 30, July 31, August 1, and August 2.

### Fish Ladders:  All north and south adult fish ladder inspection areas (picketed leads, head differentials, fishway exits, and depth over weirs) were within criteria.  Aquatic vegetation is building up on the south fish ladder picketed leads requiring more frequent cleaning.

### Fishway Entrances and Collection Channel (inspection date order):  The south shore entrance (SFE) was on sill with a depth of 7.8 feet, on sill with a depth of 8.3 feet, on sill with a depth of 7.3 feet, and on sill with 8.0 feet.  The north powerhouse entrance (NFE) was on sill with a depth of 7.5 feet, on sill with a depth of 7.8 feet, on sill with a depth of 7.2 feet, and on sill with a depth of 8.2 feet.  The north shore entrance (NSE) was on sill with a depth of 6.3 feet, on sill with a depth of 7.3 feet, on sill with a depth of 5.8 feet, and on sill with a depth of 8.0 feet.  The NSE and NFE are currently being operated in manual mode due to tailwater fluctuations caused by spill.  Fishway entrance criterion is 8 feet depth, greater than 8 feet depth, or on sill.  Channel/tailwater differential criterion is 1 – 2 feet.  Channel velocities readings ranged from 2.4 fps – 2.9 fps.  Channel velocity criterion is 1.9 fps – 2.5 fps.

### Auxiliary Water Supply System:  Two of the 3 north shore fish pumps were operated without problems.  All 8 south shore fish pumps were operated without problems.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  No problems to report.  Fish ladder exits are clear of debris and the bubblers are operating satisfactorily.

STSs/VBSs:  All STSs are in continuous run mode as the size of juvenile fish at Lower Monumental Fish Facility is less than 120 mm per FPP.  No problems were found during the July STS/VBS inspections.

Orifices, Collection Channel, Dewatering Structure, and Bypass Pipe:  The juvenile fish bypass was placed in operation March 19. Twenty orifices are open.  No problems to report.

Juvenile Bypass Facility:  The bypass was placed into operation March 19.

Juvenile Fish Sampling:  The last sample of the 2012 season took place on July 12.

Removable Spillway Weir:  The RSW is in operation.  Spill for fish began April 3, 2012.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Ice Harbor Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 44.5 | 33.1 | 34.3 | 23.2 | 70 | 70 | 5.1 | 4.8 |

*Unit 1 scrollcase temperature.

Other

Inline Cooling Water Strainers:  Two juvenile lamprey mortalities were found during July turbine cooling water strainer inspections over 1458.1 hours of of turbine unit run times.

Invasive Species:  No zebra mussels were observed during adult fishway inspections.

# Project:  Lower Monumental

# Biologists: Bill Spurgeon and Elizabeth Lindsey

Dates: July 27 – August 2, 2012

## Turbine Operation

The units are being operated in hard constraint of the 1% operation criteria.  Unit 1 was removed from service at 0850 hours on July 9 for annual maintenance.  Units 2, 3, 4, 5, and 6 were taken out of service for Doble Testing at 0658 hours on July 30.  Units 2, 3, and 4 were returned to service at 1732 hours on July 30.  Unit 5 was operated in Speed-No-Load from 0658-1743 hours on July 30.  Units 5 and 6 remain out of service for Doble Testing of transformer 2.

Adult Fish Passage Facility

The adult fishway was inspected by Corps and PSMFC/State biologists on July 27, 28, 29, 31, and August 1.

Fish Ladders: Fishway exit head differentials and depths over the weirs were within criteria (< 0.5’ and 1.0’-1.3’, respectively) on all inspections.  Picketed lead head differentials were in criteria (< 0.4’ and < 0.3’ for north and south shore fishways, respectively) on all inspections.

### Fishway Entrances and Collection Channel:  NSE1 and NSE 2 weir gates were in depth criteria (criteria: > 8’ or on sill) on all inspections.  North shore channel/tailwater head was in criteria (1’-2’) on all inspections.  SPE 1 and SPE 2 weir gates were in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 6.4’, 5.8’, 5.2’, 6.0’, and 5.1 feet.  South powerhouse channel/tailwater head was in criteria (1’-2’) on all inspections.  SSE1 weir gate was in sill criteria (criteria: > 8’ or on sill) on all inspections.  While on sill the gate depth readings were 6.7’, 5.8’, 5.5’, 6.3’, and 5.4 feet.  SSE 2 was in criteria (6’ above sill) on all inspections.  South shore channel/tailwater head was in criteria (1’-2’) this week.  The collection channel velocity remained in criteria (1.5 - 4.0 ft/sec).

### Auxiliary Water Supply System:  Fish pumps were rotated out of service on July 31 and August 1 for scheduled maintenance.  All AWS pumps were in service and operating for the remainder of this period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  There was an average of 0.0 square yards of forebay debris observed during this period.  Gatewell debris ranged from 0-15% surface coverage.  An oil sheen was observed in gatewell slot 5B on July 30.  An oil absorbing sock was placed in the slot to absorb this oil.

STSs/VBSs:  STS operations remain in continuous run mode due to sockeye and Chinook under 120 mm in length in the sample.  Unit 1 STS operations were switched to the “off” position on July 17 as the unit is undergoing annual maintenance.  Unit 5 and 6 STSs were inspected on July 31, August 1, and August 2.  All screens passed inspection.

Orifices, Collection Channel, Dewatering Structure, Flume:  The collection channel is operating with 20-21 orifices open.  The primary dewaterer automatic weirs were set to 528.1 feet and switched to the off position on June 18 to eliminate sudden water level fluctuations in the separator.

Collection Facility:  The facility is in collection for transport mode.

Transport Summary:  Every-other-day transport is in progress with barges departing on even numbered days in August.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Monumental Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature (oF)* |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 41.5 | 32.0 | 22.5 | 16.6 | 70.0 | 69.5 | 5.0+ | 5.0 |

*Scrollcase temperatures.

#### Other

Summer spill operation was initiated at 0000 hours on June 21.

Inline Cooling Water Strainers:  Cooling water strainers were inspected on July 12.  No live lamprey was recovered.  Mortalities included 8 juvenile lampreys, 1 juvenile salmon, and 2 Siberian prawn.   Unit 2 cooling water strainers were inspected on July 25.  Mortalities included 1 lamprey and 4 Siberian prawns.

Invasive Species: There were no zebra mussels observed at the monitoring stations on July 1.

Avian Activity: Piscivorous bird numbers remained very low this week.  Cormorants, gulls, and terns were the prominent species observed.  Hazing ended on June 2.

Project:  Little Goose

# Biologist: George Melanson

Dates: July 27 – August 2, 2012

## Turbine Operation

Turbine units 1 – 3 and 5 were available for service for this report period.  Turbine units 4 and 6 remained out of service for annual maintenance and exciter replacement.   All available turbine units were operated within the 1% efficiency criteria.

## Adult Fish Passage Facility

USACE and ODFW fisheries biologists performed measured inspections of the adult fishway July 27, 31 and August 1.

Fish Ladder:  The ladder exit head differentials held steady at 0 feet (criteria < 0.5 ft.).  Water depths over the weirs ranged between 1.2 and 1.3 feet (criteria 1.0-1.3 ft.) and picketed lead head differentials remained steady at 0 feet (criteria < 0.3 ft.).  No debris was observed at the picketed leads or the ladder exit.  The air bubbler used to prevent debris from collecting near the ladder exit operated satisfactorily.

Fishway Entrances and Collection Channel:  Channel to tailwater head differentials ranged between 1.4 and 2.0 feet (criteria 1.0 to 2.0 ft.).  SSE weir depths ranged between 8.1 and 8.3 feet (criteria ≥8.0 ft). NPE weirs rested on sill and depths ranged between 5.3 and 5.6 feet (criteria ≥7.0 ft or on sill).  NSE weirs remain at fixed elevations of 531.5 feet and depths ranged between 5.6 and 6.1 feet (criteria ≥ 6.0 ft.).  Collection channel surface water velocities (criteria 1.5 to 4.0 fps) ranged from 1.6 to 1.7 fps near the SSE and 2.1 to 2.7 fps near the NSE.   On July 29, collection channel subsurface water velocity measured 2.63 fps (criteria 1.5 to 4.0) near the NPE.

Auxiliary Water Supply System:   All fish pumps operated within criteria this report period.

#### Juvenile Fish Passage Facility

Forebay Debris/Gatewell Debris/Oil:  Nothing significant to report.

Spillway Weir:  The spillway weir operated in the high crest position.

ESBS/VBS:   All screens operated in criteria.  ESBS 1A – 3C and 5A -5C were manually operated on July 28.  All screens operated within criteria.  Screens associated with turbine units 4 and 6 were not operated due to scheduled outages.   Drawdown measurements across ESBS/VBS associated with turbine unit one and two were performed on July 31.  All screens measurements indicated no debris buildup.

Orifices, Collection Channel, Dewatering Structure, Flume:  The juvenile collection system was operated throughout this period with 22 open orifices.

Transportation Facility:  The facility continued collection for transport.  Daily smolt collection estimates ranged between 744 and 3,250 and totaled 9,606 for the week.  Descaling and mortality rates for the period were 0.9% and 0.8% respectively.  On July 28, one adult pacific lamprey fallback was collected and transported to one mile above the dam and released in good condition.

Transport Summary:  All barging operations were satisfactorily completed.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Little Goose Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 44.5 | 37.3 | 18.9 | 11.1 | 72.3 | 69.8 | 5.8 | 4.9 |

*Ladder temperature.

Other

Inline Cooling Water Strainers:  All cooling water strainers were inspected on July 28.  No fish were observed.

Invasive Species:  The zebra mussel substrate monitor was inspected on July 12.  No mussels were observed.  The next inspection is scheduled for August 6.

Avian Activity:   Piscivorous birds observed in the vicinity of the dam during the week included up to 20 seagulls, 20 cormorants, 2 pelicans and 1 tern.

Project:  Lower Granite

# Biologist(s):  Mike Halter and Ches Brooks

Dates: July 27 – August 2, 2012

## Turbine Operation

Lower Granite had turbine units 2, 3, 5 and 6 available for power generation at the beginning of the report period.  Turbine unit 1 is out of service in order to correct the turbine blade angles and conduct annual maintenance.  Turbine unit 4 is out of service for cavitation repair.  All turbine units were operated within the 1% operation criteria.

## Adult Fish Passage Facility

On July 27, 28, and 29 the Lower Granite fisheries biologists performed measured inspections of the adult fishway system.

Fish Ladder:  All criteria were met.  The differential between the forebay and the adult fish ladder exit was at 0.5 feet on the July 27 inspection (the maximum acceptable level).  Project personnel are investigating having a diver examine this exit.

Fishway Entrances and Collection Channel:  Head differential readings were within criteria at all adult fishway entrances during the weekly inspections.

Weir depths at the south shore fishway entrances also met criteria during all weekly inspections.  The north powerhouse fishway entrances were on sill on all inspections this week due to tailwater elevations below 636.0 feet (these gates bottom out at elevations below 636.0 feet).  North powerhouse fishway entrance weir depths ranged from 4.9 to 5.2 feet.  Weir depths at the north shore entrances ranged from 3.2 to 4.6 feet during the weekly inspections.  North shore weir depths are being sacrificed in order to maintain the requisite 1.0 foot of head differential.

Velocity readings in the adult fishway collection channel transition pool area ranged from 0.99 to 1.24 feet per second and averaged 1.13 feet per second during the weekly inspections.

### Auxiliary Water Supply System:  There were no problems with the auxiliary water system during the report week.  Fish pumps two and three were run all week.

#### Juvenile Fish Passage Facility

The last daily barge departed Lower Granite on May 28.  Every other day barging began on May 30 and fish barges are departing Lower Granite on the even-numbered days of the month during August.  The juvenile fish facility sample rate was increased from 25% to 50% at 0700 hours on July 29 and remained at that level during the remainder of the report week.

Forebay Debris/Gatewell Debris/Oil:  The amount of forebay debris varied during the week due to wind strength and direction; none was removed.

ESBSs/VBSs:  VBS/ESBS video inspections last took place on June 22 - 23.  All the screens associated with turbine units were inspected and no problems were noted.  The next inspections are scheduled for August.

Orifices, Collection Channel, Dewatering Structure, Bypass Pipe:  Juvenile fish collection gallery orifices were backflushed at regular 3 hour intervals all week.  Debris levels were fairly light during the report week.

Transportation Facility:  The JFF operated smoothly during the week.  There were no operational problems of any kind with fish collection, fish sampling, or fish transportation equipment.  Avian hazing activities concluded for the season on June 30.

Due to the presence of a few juvenile lamprey in the raceways, lamprey friendly tail screens (with larger mesh openings) were deployed in all operating raceways on June 10 and remained in place during the report week.

Transport Summary:  The first every other day barge left Lower Granite on May 30.  The final research barge of the season (index barging) departed Lower Granite on April 26.  Research fish are now being barged along with the general fish collection.  Every other day fish barging operations have been going smoothly and are scheduled to continue through mid August.

Removable Spillway Weir:  Mandatory spill operations began at 0000 hours on April 3. The RSW was operated in support of general spill operations.

River Conditions

River conditions during the week are outlined in Table 1.

Table 1.  River conditions at Lower Granite Dam.

| Daily Average River Flow (kcfs) |  | Daily Average Spill (kcfs) |  | Water Temperature* (oF) |  | Water Clarity (Secchi disk - feet) |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| High | Low | High | Low | High | Low | High | Low |
| 40.6 | 33.7 | 20.1 | 18.3 | 66.6 | 65.8 | 5.0 | 5.0 |

*Scrollcase temperature.

Other

Visual adult fish counting at the adult ladder is taking place between the hours of 0400 and 2000.  Visual fish counts began on April 1 and is scheduled to continue through October 31.

Invasive Species:  The zebra mussel trap near the adult fishway exit was last examined for zebra mussels on July 6.  No evidence of zebra mussels was found.  The next inspection is scheduled for early August.

Inline Cooling Water Strainers:  Cooling water strainers were inspected for lamprey entrainment on July 31.  A total of 9 lamprey were found in the strainers over a combined run time of 1,447.8 unit hours.  The next cooling water strainer inspections are scheduled for late August.

Research

Adult Fish Trap Operations:  The adult fish trap was shut down at 0700 hours on the morning of Thursday July 26 due to high water temperatures.  The trap water temperature at the time of shutdown was 71.0 Degrees F.  On July 30 at 0730 hours the adult fish trap was again placed in operation, as water temperatures had decreased into the 67 Degree F. range.  NOAA-Fisheries personnel will continue to monitor the water temperatures closely.  Adult fish trap operations continued with a sample rate of 10%.  Scale samples will be taken from one out of every 25 hatchery steelhead.  All wild steelhead captured will be PIT-tagged and scale and genetic samples taken.  Any previously PIT-tagged steelhead (either hatchery or wild) will have both scale and genetic samples taken for verification purposes.

United States Fish and Wildlife Service (USFWS), United States Geological Service (USGS), NMFS-Early Life History, migratory behavior and survival of fall Chinook salmon in the Snake River:  The goal of this study is to provide information to fishery managers to maximize the effectiveness of summer flow augmentation and understand how summer flow augmentation affects water temperature, water velocity, juvenile fall Chinook salmon migratory behavior, and juvenile fall Chinook salmon survival in Lower Granite Reservoir. The separation-by-code system at LGR will be used to recapture some of the fish PIT-tagged during beach seining to allow growth calculations and to photograph fish for morphological assessment.