Table TDA-6 (page 1 of 4).  The Dalles Dam Spill Distribution Pattern – 40% Spill for Juvenile Fish Passage (see footnotes at bottom of table).  Table calculated for forebay elevation = 158.5 feet.1

| Spillbay Number 2 – Vertical Gate Opening (ft) | Total Gate Open (ft) | Forebay Elevation = 158.5 feet 1 |
| --- | --- | --- |
|  |  | Total Spill (cfs) | Total River Flow (cfs) | Range of Total River Flow | Range of % Spill 3 | See Footnote |
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 |  |  |  | Low (cfs) | High (cfs) | Low (%) | High (%) |  |
|  |  |  |  |  |  | 4 | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 8 | 11,700 | 61,700 | 61,700 | 62,450 | 18.7% | 19.0% | 4 |
|  |  |  |  |  |  | 4.5 | 4.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 9 | 13,200 | 63,200 | 62,450 | 63,900 | 20.7% | 21.1% | 4 |
|  |  |  |  |  |  | 5 | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 10 | 14,600 | 64,600 | 63,900 | 65,350 | 22.3% | 22.8% | 4 |
|  |  |  |  |  |  | 5.5 | 5.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 11 | 16,100 | 66,100 | 65,350 | 66,850 | 24.1% | 24.6% | 4 |
|  |  |  |  |  |  | 6 | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 12 | 17,600 | 67,600 | 66,850 | 68,300 | 25.8% | 26.3% | 4 |
|  |  |  |  |  |  | 6.5 | 6.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 13 | 19,000 | 69,000 | 68,300 | 69,750 | 27.2% | 27.8% | 4 |
|  |  |  |  |  |  | 7 | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 14 | 20,500 | 70,500 | 69,750 | 71,200 | 28.8% | 29.4% | 4 |
|  |  |  |  |  |  | 7.5 | 7.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 15 | 21,900 | 71,900 | 71,200 | 72,600 | 30.2% | 30.8% | 4 |
|  |  |  |  |  |  | 8 | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 16 | 23,300 | 73,300 | 72,600 | 74,050 | 31.5% | 32.1% | 4 |
|  |  |  |  |  |  | 8.5 | 8.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 17 | 24,800 | 74,800 | 74,050 | 75,500 | 32.8% | 33.5% | 4 |
|  |  |  |  |  |  | 9 | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 18 | 26,200 | 76,200 | 75,500 | 76,950 | 34.0% | 34.7% | 4 |
|  |  |  |  |  |  | 9.5 | 9.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 19 | 27,700 | 77,700 | 76,950 | 78,400 | 35.3% | 36.0% | 4 |
|  |  |  |  |  |  | 10 | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 20 | 29,100 | 79,100 | 78,400 | 79,800 | 36.5% | 37.1% | 4 |
|  |  |  |  |  |  | 10.5 | 10.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 21 | 30,500 | 80,500 | 79,800 | 81,200 | 37.6% | 38.2% | 4 |
|  |  |  |  |  |  | 11 | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 22 | 31,900 | 81,900 | 81,200 | 82,600 | 38.6% | 39.3% | 4 |
|  |  |  |  |  |  | 11.5 | 11.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 23 | 33,300 | 83,300 | 82,600 | 85,150 | 39.1% | 40.3% | 4 |
|  |  |  |  |  |  | 12 | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 34,800 | 87,000 | 85,150 | 87,375 | 39.8% | 40.9% |  |
|  |  | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 24 | 35,100 | 87,750 | 87,375 | 90,000 | 39.0% | 40.2% |  |
|  |  | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 25.2 | 36,900 | 92,250 | 90,000 | 95,500 | 38.6% | 41.0% | 5 |
|  |  | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 27 | 39,500 | 98,750 | 95,500 | 100,625 | 39.3% | 41.4% | 5 |
|  | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 28 | 41,000 | 102,500 | 100,625 | 105,000 | 39.0% | 40.7% |  |
|  | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 29.4 | 43,000 | 107,500 | 105,000 | 111,375 | 38.6% | 41.0% | 5 |
|  | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 31.5 | 46,100 | 115,250 | 111,375 | 116,125 | 39.7% | 41.4% | 5 |
| 4 | 4 | 4 | 4 | 4 | 4 | 4 | 4 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 32 | 46,800 | 117,000 | 116,125 | 120,000 | 39.0% | 40.3% |  |
| 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 | 4.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 33.6 | 49,200 | 123,000 | 120,000 | 127,375 | 38.6% | 41.0% | 5 |
| 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 | 4.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 36 | 52,700 | 131,750 | 127,375 | 134,750 | 39.1% | 41.4% | 5 |
| 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 | 4.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 37.6 | 55,100 | 137,750 | 134,750 | 142,000 | 38.8% | 40.9% | 5 |
| 5 | 5 | 5 | 5 | 5 | 5 | 5 | 5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 40 | 58,500 | 146,250 | 142,000 | 149,250 | 39.2% | 41.2% | 5 |
| 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 | 5.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 41.6 | 60,900 | 152,250 | 149,250 | 156,625 | 38.9% | 40.8% | 5 |
| 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 | 5.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 44 | 64,400 | 161,000 | 156,625 | 163,875 | 39.3% | 41.1% | 5 |
| 5.7 | 5.7 | 5.7 | 5.7 | 5.7 | 5.7 | 5.7 | 5.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 45.6 | 66,700 | 166,750 | 163,875 | 171,125 | 39.0% | 40.7% |  |
| 6 | 6 | 6 | 6 | 6 | 6 | 6 | 6 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 48 | 70,200 | 175,500 | 171,125 | 178,375 | 39.4% | 41.0% |  |
| 6.2 | 6.2 | 6.2 | 6.2 | 6.2 | 6.2 | 6.2 | 6.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 49.6 | 72,500 | 181,250 | 178,375 | 185,625 | 39.1% | 40.6% |  |
| 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 | 6.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 52 | 76,000 | 190,000 | 185,625 | 193,000 | 39.4% | 40.9% |  |
| 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 | 6.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 53.6 | 78,400 | 196,000 | 193,000 | 200,375 | 39.1% | 40.6% |  |
| 7 | 7 | 7 | 7 | 7 | 7 | 7 | 7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 56 | 81,900 | 204,750 | 200,375 | 207,625 | 39.4% | 40.9% |  |
| 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 | 7.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 57.6 | 84,200 | 210,500 | 207,625 | 214,750 | 39.2% | 40.6% |  |
| 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 | 7.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 60 | 87,600 | 219,000 | 214,750 | 221,875 | 39.5% | 40.8% |  |
| 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 | 7.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 61.6 | 89,900 | 224,750 | 221,875 | 229,000 | 39.3% | 40.5% |  |
| 8 | 8 | 8 | 8 | 8 | 8 | 8 | 8 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 64 | 93,300 | 233,250 | 229,000 | 236,125 | 39.5% | 40.7% |  |
| 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 | 8.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 65.6 | 95,600 | 239,000 | 236,125 | 243,375 | 39.3% | 40.5% |  |
| 8.5 | 8.5 | 8.5 | 8.5 | 8.5 | 8.5 | 8.5 | 8.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 68 | 99,100 | 247,750 | 243,375 | 250,625 | 39.5% | 40.7% |  |
| 8.7 | 8.7 | 8.7 | 8.7 | 8.7 | 8.7 | 8.7 | 8.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 69.6 | 101,400 | 253,500 | 250,625 | 257,875 | 39.3% | 40.5% |  |
| 9 | 9 | 9 | 9 | 9 | 9 | 9 | 9 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 72 | 104,900 | 262,250 | 257,875 | 265,125 | 39.6% | 40.7% |  |
| 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 | 9.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 73.6 | 107,200 | 268,000 | 265,125 | 272,375 | 39.4% | 40.4% |  |
| 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 | 9.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 76 | 110,700 | 276,750 | 272,375 | 279,625 | 39.6% | 40.6% |  |
| 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 | 9.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 77.6 | 113,000 | 282,500 | 279,625 | 286,625 | 39.4% | 40.4% |  |
| 10 | 10 | 10 | 10 | 10 | 10 | 10 | 10 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 80 | 116,300 | 290,750 | 286,625 | 293,625 | 39.6% | 40.6% |  |
| 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 | 10.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 81.6 | 118,600 | 296,500 | 293,625 | 300,625 | 39.5% | 40.4% |  |
| 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 | 10.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 84 | 121,900 | 304,750 | 300,625 | 307,625 | 39.6% | 40.5% |  |
| 10.7 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7 | 10.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 85.6 | 124,200 | 310,500 | 307,625 | 314,875 | 39.4% | 40.4% |  |
| 11 | 11 | 11 | 11 | 11 | 11 | 11 | 11 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 88 | 127,700 | 319,250 | 314,875 | 322,000 | 39.7% | 40.6% |  |
| 11.2 | 11.2 | 11.2 | 11.2 | 11.2 | 11.2 | 11.2 | 11.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 89.6 | 129,900 | 324,750 | 322,000 | 329,125 | 39.5% | 40.3% |  |
| 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 | 11.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 92 | 133,400 | 333,500 | 329,125 | 336,375 | 39.7% | 40.5% |  |
| 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 | 11.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 93.6 | 135,700 | 339,250 | 336,375 | 343,500 | 39.5% | 40.3% |  |
| 12 | 12 | 12 | 12 | 12 | 12 | 12 | 12 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 96 | 139,100 | 347,750 | 343,500 | 350,500 | 39.7% | 40.5% |  |
| 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 | 12.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 97.6 | 141,300 | 353,250 | 350,500 | 357,375 | 39.5% | 40.3% |  |
| 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 | 12.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 100 | 144,600 | 361,500 | 357,375 | 364,250 | 39.7% | 40.5% |  |
| 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 | 12.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 101.6 | 146,800 | 367,000 | 364,250 | 371,250 | 39.5% | 40.3% |  |
| 13 | 13 | 13 | 13 | 13 | 13 | 13 | 13 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 104 | 150,200 | 375,500 | 371,250 | 378,375 | 39.7% | 40.5% |  |
| 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 | 13.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 105.6 | 152,500 | 381,250 | 378,375 | 385,375 | 39.6% | 40.3% |  |
| 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 | 13.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 108 | 155,800 | 389,500 | 385,375 | 392,250 | 39.7% | 40.4% |  |
| 13.7 | 13.7 | 13.7 | 13.7 | 13.7 | 13.7 | 13.7 | 13.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 109.6 | 158,000 | 395,000 | 392,250 | 399,125 | 39.6% | 40.3% |  |
| 14 | 14 | 14 | 14 | 14 | 14 | 14 | 14 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 112 | 161,300 | 403,250 | 399,125 | 406,000 | 39.7% | 40.4% | 6 |
| 14.2 | 14.2 | 14.2 | 14.2 | 14.2 | 14.2 | 14.2 | 14.2 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 113.6 | 163,500 | 408,750 | 406,000 | 413,000 | 39.6% | 40.3% |  |
| 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 | 14.5 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 116 | 166,900 | 417,250 | 413,000 | 420,000 | 39.7% | 40.4% |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 117.6 | 169,100 | 422,750 | 420,000 | 433,875 | 39.0% | 40.3% |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  |  |  |  |  |  |  |  |  |  |  | 121.6 | 175,000 | 445,000 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 |  |  |  |  |  |  |  |  |  | 125.6 | 180,800 | 450,800 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 | 4 |  |  |  |  |  |  |  |  | 129.6 | 186,700 | 456,700 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 | 4 |  | 4 |  |  |  |  |  |  | 133.6 | 192,500 | 462,500 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 | 4 |  | 4 |  |  | 4 |  |  |  | 137.6 | 198,400 | 468,400 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 | 4 |  | 4 |  |  | 4 | 4 |  |  | 141.6 | 204,200 | 474,200 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 4 |  | 4 | 4 |  | 4 |  |  | 4 | 4 | 4 |  | 145.6 | 210,100 | 480,100 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 4 | 4 |  | 4 |  |  | 4 | 4 | 4 |  | 149.6 | 215,900 | 485,900 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 4 |  | 4 |  |  | 4 | 4 | 4 |  | 153.6 | 221,700 | 491,700 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 8 |  | 4 |  |  | 4 | 4 | 4 |  | 157.6 | 227,500 | 497,500 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 8 |  | 8 |  |  | 4 | 4 | 4 |  | 161.6 | 233,300 | 503,300 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 8 |  | 8 |  |  | 8 | 4 | 4 |  | 165.6 | 239,100 | 509,100 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 8 |  | 8 |  |  | 8 | 8 | 4 |  | 169.6 | 245,000 | 515,000 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 8 |  | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 |  | 173.6 | 250,800 | 520,800 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 8 | 8 |  | 8 |  |  | 8 | 8 | 8 |  | 177.6 | 256,500 | 526,500 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 12 | 8 |  | 8 |  |  | 8 | 8 | 8 |  | 181.6 | 262,200 | 532,200 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 12 | 12 |  | 8 |  |  | 8 | 8 | 8 |  | 185.6 | 267,900 | 537,900 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 8 | 8 | 8 |  | 189.6 | 273,700 | 543,700 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 8 | 8 |  | 193.6 | 279,400 | 549,400 |  |  |  |  |  |
| 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 | 14.7 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 8 |  | 197.6 | 285,100 | 555,100 |  |  |  |  |  |
| 14.7 | 14.7 | 15 | 15 | 15 | 15 | 15 | 15 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 203.4 | 293,300 | 563,300 |  |  |  |  |  |
| 15 | 15 | 15.5 | 15.5 | 15.5 | 15.5 | 15.5 | 15.5 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 207 | 298,200 | 568,200 |  |  |  |  |  |
| 15 | 15 | 16 | 16 | 16 | 16 | 16 | 16 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 210 | 302,500 | 572,500 |  |  |  |  |  |
| 15 | 15 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 | 16.5 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 213 | 306,700 | 576,700 |  |  |  |  |  |
| 15 | 15 | 17 | 17 | 17 | 17 | 17 | 17 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 216 | 310,600 | 580,600 |  |  |  |  |  |
| 15 | 16 | 18 | 18 | 18 | 18 | 18 | 18 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 223 | 320,500 | 590,500 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 12 |  | 12 | 12 |  | 12 |  |  | 12 | 12 | 12 |  | 229 | 328,400 | 598,400 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 14 |  | 14 | 14 |  | 12 |  |  | 12 | 12 | 12 |  | 235 | 336,700 | 606,700 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 15 |  | 15 | 15 |  | 14 |  |  | 12 | 12 | 12 |  | 240 | 343,700 | 613,700 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 16 |  | 16 | 16 |  | 16 |  |  | 14 | 12 | 12 |  | 247 | 353,400 | 623,400 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 17 |  | 17 | 17 |  | 17 |  |  | 14 | 12 | 12 |  | 251 | 358,800 | 628,800 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 18 |  | 18 | 18 |  | 18 |  |  | 12 | 12 | 12 |  | 253 | 361,700 | 631,700 |  |  |  |  |  |
| 15 | 16 | 19 | 19 | 19 | 19 | 19 | 19 |  |  |  | 19 |  | 19 | 19 |  | 19 |  |  | 12 | 12 | 12 |  | 257 | 367,000 | 637,000 |  |  |  |  | 7 |

- UPDATE 7/24/12: flow and spill (cfs and %) calculated based on forebay elevation of 158.5 feet.  Previous spill pattern tables were based on 1,500 cfs per foot of gate opening, which corresponded to a forebay elevation of 160 feet.  Median TDA April-August forebay elevation for the years 2009-2012 is 158.5 feet.

- The highlighted columns are spillbays that are operationally restricted because of structural or wire rope issues.  Highlighted bays will be used only if needed for dam safety.

- Uniform spill patterns are critical to increasing juvenile fish survival through the tailrace.  To accomplish the uniform spill pattern, fixed amounts of spill will occur that result in hourly spill percentages within the ranges shown in the table above.

- Minimum generation powerhouse requirement = 50 kcfs.  40% spill is not achievable until total river flow is ≥84 kcfs.  At total river flow <84 kcfs, spill all flow in excess of the minimum generation requirement.

- At certain flow ranges, spill could exceed ±1% of the target spill rate of 40%.  At total river flows of 92,250–161,000 cfs, spill could range from 38.6–41.4% (up to ±1.4% of the 40% rate).

- At forebay elevation of 160 ft, the maximum gate opening through bays 1-8 is 14 ft (minimum gate opening is 4 ft), thus higher spillbays will be utilized prior to opening any of spillbays 1-8 more than 14.0 ft.  At lower forebay elevations, the gate openings can be increased up to 14.7 feet before opening up higher spillbays.

- If gate openings greater than shown in table above are needed, to the extent feasible, incrementally increase gate openings.  If all available spillbays are fully open and more flow is needed to limit pool surcharge, use restricted spillbays in following priority order: 10, 11, 13, 16, 18, 19, and 23.  Fully open each bay as needed before moving to next.