# Fish Passage Plan (FPP) Change Request Form

**Change Form # & Title**: 21JDA004 – Update Range For Unit 10

**Date Submitted**: 5 April 2021

**Project**: John Day Dam

**Requester Name, Agency**: Lisa Wright, Corps RCC

**Final Action: APPROVED – 8 April 2021**

**FPP Section**:

Table JDA-7-A. Turbine Operating Ranges for Units with Locked Runner Blades.

**Justification for Change**:

The final operating range for Unit 10 with hydraulically locked blades has been determined based on index testing in December 2020. The range is the same as for Unit 3.

This change form removes the preliminary operating range for Unit 10 and adds it to the table for Unit 3.

**Proposed Change**:

*See next page with edits to existing Table JDA-7-A (new text in red).*

**Comments**:

 April 8, 2021 FPOM: Van Dyke asked how long before Unit 10 is restored to Kaplan. Bettin said the goal is to rehab one a year – there are a total of seven units now that have locked blades and Unit 10 was just locked last summer, so it will probably be awhile. Fielding wasn’t aware of the timeline.

**Record of Final Action**: Approved at FPOM on April 8, 2021.

Table JDA-7-A. Operating Range Values for John Day Turbine Units 3, 4, 8, 9, 10, 11, and 14 with Locked Runner Blades

(Non-Adjustable). a

