# Fish Passage Plan (FPP) Change Form

**Change Form # & Title**: 22TDA004 – 2.3.2.6. Unit Outage Sluicegate Time

**Date Submitted**: 29-December-2021

**Project**: The Dalles Dam

**Requester Name, Agency**: Bob Cordie, Corps TDA

**Final Action: APPROVED 27-January-2022**

**FPP Section**: TDA section 2.3.2. Juvenile Facilities / Fish Passage Season

**Justification for Change**:

A forced unit outage should have 1 full workday to resolve the problem before moving the sluicegates.

**Proposed Change**:

Change 6 hours to 10 hours before making a sluicegate move.

**2.3.2. Juvenile Fish Facilities – Juvenile Fish Passage Season (April 1 – November 30).**

**2.3.2.6.** From April 1 through November 30, operate the ITS 24 hours/day per **Table TDA-4** for juvenile fish passage**.** Open gates 1-1, 1-2, 1-3 over operating Main Unit (MU)-1; open gates 8-1, 8-3 over operating MU-8; and open gate 18-2 over operating MU-18. If any these MUs are out of service for more than 10 hours, operate the next available MU and associated gates adjacent to the unit (i.e., if MU-1 is OOS, operate MU-2 w/gates; if MU-18 is OOS, operate MU-17 w/gates or MU-19 w/gates).

**Comments**:

1/27/22 FPOM FPP Meeting:

Lorz, Morrill fine with this. Van Dyke wants more info on why the need for more flexibility. Will seek more info offline.

**Record of Final Action**: Approved at the FPOM FPP meeting 1/27/22.