# Fish Passage Plan (FPP) Change Form

**Change Form # & Title**: 22TDA006 – 3.1.4. AWS Backup Inclusion

**Date Submitted**: 29-December-2021

**Project**: The Dalles Dam

**Requester Name, Agency**: Bob Cordie, Corps TDA

**Final Action: APPROVED 27-January-2022**

**FPP Section**: TDA section 3.1.4. Fish Facilities Routine Maintenance

**Justification for Change**: AWS backup system needs to be included as part of the overall system for fishway auxiliary water.

**Proposed Change**:

**3.1. Fish Facilities Routine Maintenance**

**3.1.4. Fishway Auxiliary Water Systems (AWS).** Fishway auxiliary water is provided by discharge from hydroelectric turbine systems and/or AWS backup system. Preventive maintenance and routine repair occur throughout the year. Trashracks for the AWS intakes will be raked when drawdown exceeds criteria. When practicable, trashracks will be raked during the time of day when fish passage is least affected.

**Comments**:

**Record of Final Action**: Approved at the FPOM FPP meeting 1/27/22.