# Fish Passage Plan (FPP) Change Form

**Change Form # & Title**: 23IHR004 – Single unit operation on line 2

**Date Submitted**: December 13, 2022

**Project**: Ice Harbor

**Requester Name, Agency**: Harold Wentworth, Chief of Operations, Ice Harbor Dam, USACE

**Final Action: WITHDRAWN 7-FEB-2023**

**FPP Section**: IHR section 4.1.3. Single Unit Operation

**Justification for Change**:

There is no risk to BPA system reliability or project operations to operate unit 3 and/or 4 on the Ice Harbor Franklin No. 2 115 kv line without operating other units.

**Proposed Change**: *[edits to existing FPP in track changes]*

**4.1. Turbine Unit Priority Order.**

Table IHR-4. Ice Harbor Dam Turbine Unit Priority Order.

|  |  |  |
| --- | --- | --- |
| **Season** |  | **Unit Priority Order** |
| March 1 –  November 30  (Fish Passage Season) |  |  |
| - | 1, 2, 3, 6, 4, 5 |
| December 1 –  end of February  (Winter Maintenance) |  |  |
|  | Any Order |

**Comments**:

3-FEB-2023 FPOM FPP Meeting:

Bettin – this is great but is the project absolutely sure they don’t need this anymore? BPA isn’t aware of any change to the system.

Lorz – agree. This is better if it can be done. Just curious why it’s changed.

St. John – uncertain. Will follow up with project and provide more info at FPOM next week.

7-FEB-2023 email from Scott St. John: “After discussion with IHR Project and BPA, we are going to rescind 23IHR004 and discuss the change further in the future.”

**Record of Final Action**: WITHDRAWN on Feb 7, 2023